## E3
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E3: PPP Project Analysis
[6 empty] | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 120 |  | 130 |  | 140 |  | 150 |  | 160 |  | 170 |  | 180 |  | 190 |  | 200 |  | 210 |  | 220 |  | 230 |  | 240 |  | 250 |  | 300
Line | Description | Ofwat | WICS | Units | Field | Highland |  | Highland |  | Tay |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Moray Coast |  | Moray Coast |  | Moray Coast |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | Levenmouth |  | Dalmuir |  | Daldowie |  | MSI |  | MSI |  | MSI | [9 empty] | Total
Ref. |  | Ref | Reference |  | Type |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
|  | JR 07 | AR 06
Project Data
E3.0 | Name | - | E3.0 |  | I | Ft William |  | Inverness |  | Hatton |  | Nigg |  | Persley |  | Peterhead |  | Fraserburgh |  | Lossiemouth |  | Buckie |  | Banff/Macduff |  | Seafield |  | Newbridge |  | East Calder |  | Blackburn |  | Whitburn |  | Levenmouth |  | Dalmuir |  | Daldowie |  | Meadowhead |  | Stevenston |  | Inverclyde
E3.1 | Annual average resident connected population | - | E3.1 | 000 | I/C | 8.169 | B2 | 61.612 | B2 | 194.093 | B2 | 218.744 | B2 | 38.85 | B2 | 22.754 | B2 | 18.037 | B2 | 37.729 | B2 | 13.782 | B2 | 10.695 | B2 | 611.499 | B2 | 25.037 | B2 | 73.537 | B2 | 19.093 | B2 | 12.436 | B2 | 116.218 | B2 | 431.345 | B2 | 0 | A1 | 191.397 | B2 | 69.08 | B2 | 74.809 | B2 | [8 empty] | 2248.916 | B2
E3.2 | Annual average non-resident connected population | - | E3.2 | 000 | I/C | 0.853 | B3 | 3.468 | B3 | 2.003 | B3 | 2.744 | B3 | 0.562 | B3 | 0.304 | B3 | 0.324 | B3 | 0.555 | B3 | 0.344 | B3 | 0.338 | B3 | 4.618 | B3 | 0.182 | B3 | 0.221 | B3 | 0.146 | B3 | 0.036 | B3 | 1.392 | B3 | 3.338 | B3 | 0 | A1 | 1.616 | B3 | 0.109 | B3 | 0.287 | B3 | [8 empty] | 23.44 | B3
E3.3 | Population equivalent of total load received | - | E3.5 | 000 | I/C | 17.238 | B3 | 89.078 | B3 | 248.649 | B3 | 282.088 | B3 | 49.588 | B3 | 40.126 | B3 | 24.918 | B3 | 45.468 | B3 | 28.49 | B3 | 12.517 | B3 | 783.674 | B3 | 31.769 | B3 | 114.84 | B3 | 23.339 | B3 | 13.303 | B3 | 187.693 | B3 | 557.011 | B3 | 0 | A1 | 228.318 | B3 | 81.908 | B3 | 86.826 | B3 | [8 empty] | 2946.841 | B3
| Scope of Works | [32 empty] | 0
E3.4 | Sewerage | - | E3.7 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1
E3.5 | Sewage Treatment | - | E3.8 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1
E3.6 | Sludge Treatment | - | E3.9 | 1/0 | I | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1
E3.7 | Terminal Pumping Station | - | E3.10 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1
E3.8 | Other (state details) | - | E3.11 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1
Sewage Treatment - Effluent Consent Standard
E3.9 | Suspended solids consent | - | E3.17 | mg/l | I | 100 | A1 | 100 | A1 | 100 | A1 | 0 | N | 100 | A1 | 0 | N | 0 | N | 100 | A1 | 100 | A1 | 100 | A1 | 375 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 135 | A1 | 0 | N | 100 | A1 | 0 | N | 100 | A1
E3.10 | BOD consent | - | E3.18 | mg/l | I | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 25 | A1 | 15 | A1 | 15 | A1 | 10 | A1 | 10 | A1 | 25 | A1 | 25 | A1 | 0 | N | 25 | A1 | 25 | A1 | 25 | A1
E3.11 | COD consent | - | E3.19 | mg/l | I | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 0 | N | 125 | A1 | 125 | A1 | 125 | A1
E3.12 | Ammonia consent | - | E3.20 | mg/l | I | 0 | N | 0 | N | 50 | A1 | 0 | N | 35 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 7 | A1 | 2 | A1 | 2 | A1 | 1 | A1 | 0 | N | 20 | A1 | 0 | N | 50 | A1 | 50 | A1 | 0 | N
E3.13 | Phosphate consent | - | E3.21 | mg/l | I | 0 | N | 0 | N | 0 | N | 0 | N | 2 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.5 | A1 | 0.5 | A1 | 0.5 | A1 | 0.5 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.14 | Compliance with effluent consent standard | - | E3.22 | % | I | 100 | A1 | 98 | A1 | 100 | A1 | 99 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 99 | A1 | 97 | A1 | 98 | A1 | 99 | A1 | 100 | A1 | 100 | A1 | 0 | N | 99 | A1 | 99 | A1 | 100 | A1
Treatment Works Category
E3.15 | Primary | - | E3.25 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | N | 0 | A1 | 1 | A1 | 1 | A1
E3.16 | Secondary activated sludge | - | E3.26 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 1 | A1 | 1 | A1 | 1 | A1
E3.17 | Secondary biological | - | E3.27 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
E3.18 | Tertiary A1 | - | E3.28 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
E3.19 | Tertiary A2 | - | E3.29 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 1 | A1 | 1 | A1 | 0 | A1 | 0 | N | 1 | A1 | 0 | A1 | 0 | A1
E3.20 | Tertiary B1 | - | E3.30 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
E3.21 | Tertiary B2 | - | E3.31 | 1/0 | I | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 1 | A1 | 0 | A1 | 0 | A1 | 0 | A1 | 0 | N | 0 | A1 | 0 | A1 | 0 | A1
Sewerage Data
E3.22 | Total length of sewer | - | E3.47 | km | I | 4.3 | B3 | 10.7 | B3 | 40.7 | B3 | 35.7 | B3 | 0.4 | B3 | 1 | B3 | 1.8 | B3 | 31.6 | B3 | 18.5 | B3 | 9.5 | B3 | 44 | B3 | 3.1 | B3 | 0 | N | 0 | N | 0 | N | 8 | B3 | 0 | N | 11.8 | B3 | 0 | N | 0 | N | 0.9 | B3 | [8 empty] | 222 | B3
E3.23 | Length of critical sewer | - | E3.48 | km | I | 4.3 | B3 | 10.7 | B3 | 40.7 | B3 | 35.7 | B3 | 0.4 | B3 | 1 | B3 | 1.8 | B3 | 31.6 | B3 | 18.5 | B3 | 9.5 | B3 | 44 | B3 | 3.1 | B3 | 0 | N | 0 | N | 0 | N | 8 | B3 | 0 | N | 11.8 | B3 | 0 | N | 0 | N | 0.9 | B3 | [8 empty] | 222 | B3
E3.24 | Number of pumping stations | - | E3.49 | nr | I | 4 | A1 | 4 | A1 | 16 | A1 | 14 | A1 | 0 | N | 0 | N | 1 | A1 | 7 | A1 | 12 | A1 | 10 | A1 | 7 | A1 | 2 | A1 | 0 | N | 0 | N | 1 | A1 | 8 | A1 | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N
E3.25 | Capacity of pumping stations (m3/d) | - | E3.50 | m3/day | I | 65992 | B3 | 247622 | B3 | 2480129 | B3 | 192871 | B3 | 0 | N | 0 | N | 16848 | B3 | 236563 | B3 | 44240 | B3 | 239242 | B3 | 238723 | B3 | 27043 | B3 | 0 | N | 0 | N | 3888 | B3 | 503453 | B3 | 0 | N | 10320 | B3 | 0 | N | 0 | N | 0 | N
E3.26 | Capacity of pumping stations (kw) | - | E3.51 | kw | I | 59 | B3 | 806 | B3 | 6623 | B3 | 2103 | B3 | 0 | N | 0 | N | 0 | N | 325 | B3 | 525 | B3 | 625 | B3 | 713 | B3 | 26 | B3 | 0 | N | 0 | N | 0 | N | 134 | B3 | 0 | N | 660 | B3 | 0 | N | 0 | N | 0 | N
E3.27 | Number of combined pumping stations | - | E3.52 | nr | I | 2 | A1 | 1 | A1 | 7 | A1 | 12 | A1 | 0 | N | 0 | N | 0 | N | 4 | A1 | 8 | A1 | 7 | A1 | 6 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.28 | Capacity of combined pumping stations (m3/d) | - | E3.53 | m3/day | I | 4821 | B3 | 34214 | B3 | 209002 | B3 | 96362 | B3 | 0 | N | 0 | N | 0 | N | 65232 | B3 | 23599 | B3 | 115949 | B3 | 116035 | B3 | 10109 | B3 | 0 | N | 0 | N | 0 | N | 23328 | B3 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.29 | Number of stormwater pumping stations | - | E3.54 | nr | I | 0 | N | 2 | A1 | 6 | A1 | 2 | A1 | 0 | N | 0 | N | 0 | N | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 2 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.30 | Capacity of stormwater pumping stations (m3/d) | - | E3.55 | m3/day | I | 0 | N | 209088 | B3 | 2105741 | B3 | 96509 | B3 | 0 | N | 0 | N | 0 | N | 142560 | B3 | 6394 | B3 | 56419 | B3 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 94176 | B3 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.31 | Number of combined sewer overflows | - | E3.56 | nr | I | 2 | A1 | 1 | A1 | 9 | A1 | 8 | A1 | 0 | N | 0 | N | 1 | A1 | 4 | A1 | 10 | A1 | 8 | A1 | 9 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 5 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E3.32 | Number of combined sewer overflows (screened) | - | E3.57 | nr | I | 2 | A1 | 1 | A1 | 9 | A1 | 8 | A1 | 0 | N | 0 | N | 1 | A1 | 4 | A1 | 10 | A1 | 8 | A1 | 9 | A1 | 1 | A1 | 0 | N | 0 | N | 0 | N | 5 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
Sludge Treatment and Disposal Data
E3.33 | Farmland Untreated | - | E3.58 | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3.34 | Farmland Conventional | - | E3.59 | ttds | I/C | 0 | N | 1.862 | B4 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 1.862 | B4
E3.35 | Farmland Advanced | - | E3.60 | ttds | I/C | 0 | N | 0 | N | 4.498 | B4 | 11.913 | B4 | 0 | N | 0 | N | 0 | N | 3.169 | B4 | 0 | N | 0 | N | 21.802 | B4 | 0.744 | B4 | 0 | N | 0 | N | 0 | N | 2.38 | B4 | 0 | N | 11.727 | B3 | 4.05 | B4 | 0 | N | 0 | N | [8 empty] | 60.283 | B4
E3.36 | Incineration | - | E3.62 | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.538 | B4 | 0 | N | 31.885 | B3 | 0 | N | 0 | N | 0 | N | [8 empty] | 32.423 | B3
E3.37 | Landfill | - | E3.61 | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3.38 | Composted | - | E3.63 | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3.39 | Land Reclamation | - | E3.64 | ttds | I/C | 0 | N | 0 | N | 0 | N | 0.491 | B4 | 0.212 | B4 | 0.364 | B4 | 0.107 | B4 | 0 | N | 0 | N | 0 | N | 0.139 | B4 | 0.536 | B4 | 0 | N | 0 | N | 0 | N | 0 | N | 5.634 | B4 | 0 | N | 4.555 | B4 | 0 | N | 0 | N | [8 empty] | 12.038 | B4
E3.40 | Other | - | E3.65 | ttds | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.422 | B4 | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0.422 | B4
Prepared by: …………………………………………….. |  |  | Date: 15/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E3a
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E3a: PPP Cost Analysis
[6 empty] | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 120 |  | 130 |  | 140 |  | 150 |  | 160 |  | 170 |  | 180 |  | 190 |  | 200 |  | 210 |  | 220 |  | 230 |  | 240 |  | 250 |  | 300
Line | Description | Ofwat | WICS | Units | Field | Highland |  | Highland |  | Tay |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Aberdeen |  | Moray Coast |  | Moray Coast |  | Moray Coast |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | AVSE |  | Levenmouth |  | Dalmuir |  | Daldowie |  | MSI |  | MSI |  | MSI | [9 empty] | Total
Ref. |  | Ref | Reference |  | Type |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
|  | JR 07 | AR 06
E3a.0 | Name | - | E3a.0 |  |  | Ft William |  | Inverness |  | Hatton |  | Nigg |  | Persley |  | Peterhead |  | Fraserburgh |  | Lossiemouth |  | Buckie |  | Banff/Macduff |  | Seafield |  | Newbridge |  | East Calder |  | Blackburn |  | Whitburn |  | Levenmouth |  | Dalmuir |  | Daldowie |  | Meadowhead |  | Stevenston |  | Inverclyde
Sewerage Costs
E3a.1 | Estimated direct operating cost | - | E3a.1 | £m | I/C | 0.046 | D6 | 0.156 | D6 | 2.6 | D6 | 1.848 | D6 | 0.006 | D6 | 0.059 | D6 | 0.025 | D6 | 0.597 | D6 | 0.51 | D6 | 0.367 | D6 | 0.412 | D6 | 0.001 | D6 | 0 | N | 0 | N | 0 | DX | 0.165 | D6 | 0 | N | 0.53 | D6 | 0 | N | 0 | N | 0 | DX | [8 empty] | 7.322 | D6
E3a.2 | Rates paid by the PPP contractor | - | E3a.2 | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3a.3 | SEPA charges paid by the PPP contractor | - | E3a.3 | £m | I/C | 0.001 | A2 | 0 | N | 0.013 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0.005 | A2 | 0.013 | A2 | 0.01 | A2 | 0.008 | A2 | 0.001 | A2 | 0 | N | 0 | N | 0 | N | 0.001 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0.052 | A2
E3a.4 | Total direct cost | - | E3a.4 | £m | C | 0.047 | D6 | 0.156 | D6 | 2.613 | D6 | 1.848 | D6 | 0.006 | D6 | 0.059 | D6 | 0.025 | D6 | 0.602 | D6 | 0.523 | D6 | 0.377 | D6 | 0.42 | D6 | 0.002 | D6 | 0 | N | 0 | N | 0 | DX | 0.166 | D6 | 0 | N | 0.53 | D6 | 0 | N | 0 | N | 0 | DX | 0 |  | 0 |  | 0 |  | 0 |  | 7.374 | D6
E3a.5 | Scottish Water general & support expenditure | - | E3a.5 | £m | I/C | 0.001 | CX | 0.012 | C4 | 0.067 | C4 | 0.161 | C4 | 0 | CX | 0.003 | CX | 0.001 | CX | 0.013 | C4 | 0.014 | C4 | 0.01 | C4 | 0.014 | C4 | 0 | CX | 0 | N | 0 | N | 0 | CX | 0.009 | C4 | 0 | N | 0.031 | C4 | 0 | N | 0 | N | 0 | CX | [8 empty] | 0.336 | C4
E3a.6 | Scottish Water SEPA charges | - | E3a.6 | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | BX | [8 empty] | 0 | N
E3a.7 | Total sewerage cost | - | E3a.7 | £m | C | 0.048 | D6 | 0.168 | D6 | 2.68 | D6 | 2.009 | D6 | 0.006 | D6 | 0.062 | D6 | 0.026 | D6 | 0.615 | D6 | 0.537 | D6 | 0.387 | D6 | 0.434 | D6 | 0.002 | D6 | 0 | N | 0 | N | 0 | DX | 0.175 | D6 | 0 | N | 0.561 | D6 | 0 | N | 0 | N | 0 | DX | 0 |  | 0 |  | 0 |  | 0 |  | 7.71 | D6
Sewage Treatment Costs
E3a.8 | Estimated direct operating cost | - | E3a.8 | £m | I/C | 0.741 | D6 | 1.73 | D6 | 2.107 | D6 | 1.511 | D6 | 0.953 | D6 | 0.635 | D6 | 0.614 | D6 | 0.676 | D6 | 0.502 | D6 | 0.586 | D6 | 9.882 | D6 | 1.253 | D6 | 0.629 | D6 | 0.328 | D6 | 0.456 | D6 | 3.797 | D6 | 3.473 | D6 | 0 | N | 2.94 | D6 | 1.531 | D6 | 1.364 | D6 | [8 empty] | 35.708 | D6
E3a.9 | Rates paid by the PPP contractor | - | E3a.9 | £m | I/C | 0.054 | B3 | 0.15 | B3 | 0.147 | B3 | 0.391 | B3 | 0.158 | B3 | 0.069 | B3 | 0.089 | B3 | 0.038 | B3 | 0.032 | B3 | 0.056 | B3 | 1.062 | B3 | 0.099 | B3 | 0.136 | B3 | 0.075 | B3 | 0.047 | B3 | 0.246 | B3 | 0.695 | B3 | 0 | N | 0.25 | B3 | 0.237 | B3 | 0.093 | B3 | [8 empty] | 4.124 | B3
E3a.10 | SEPA charges paid by the PPP contractor | - | E3a.10 | £m | I/C | 0.028 | A2 | 0.111 | A2 | 0.163 | A2 | 0.232 | A2 | 0.04 | A2 | 0.03 | A2 | 0.03 | A2 | 0.04 | A2 | 0.021 | A2 | 0.019 | A2 | 0.256 | A2 | 0.028 | A2 | 0.07 | A2 | 0.022 | A2 | 0.01 | A2 | 0.094 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 1.194 | A2
E3a.11 | Total direct cost | - | E3a.11 | £m | C | 0.823 | D6 | 1.991 | D6 | 2.417 | D6 | 2.134 | D6 | 1.151 | D6 | 0.734 | D6 | 0.733 | D6 | 0.754 | D6 | 0.555 | D6 | 0.661 | D6 | 11.2 | D6 | 1.38 | D6 | 0.835 | D6 | 0.425 | D6 | 0.513 | D6 | 4.137 | D6 | 4.168 | D6 | 0 | N | 3.19 | D6 | 1.768 | D6 | 1.457 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 41.026 | D6
E3a.12 | Scottish Water general & support expenditure | - | E3a.12 | £m | I/C | 0.028 | C4 | 0.149 | C4 | 0.062 | C4 | 0.185 | C4 | 0.026 | C4 | 0.027 | C4 | 0.024 | C4 | 0.017 | C4 | 0.015 | C4 | 0.019 | C4 | 0.368 | C4 | 0.028 | C4 | 0.027 | C4 | 0.021 | C4 | 0.022 | C4 | 0.21 | C4 | 0.148 | C4 | 0 | N | 0.188 | C4 | 0.357 | C4 | 0.377 | C4 | [8 empty] | 2.298 | C4
E3a.13 | Scottish Water SEPA charges | - | E3a.13 | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.299 | A2 | 0 | N | 0.255 | A2 | 0.107 | A2 | 0.068 | A2 | [8 empty] | 0.729 | A2
E3a.14 | Total sewage treatment cost | - | E3a.14 | £m | C | 0.851 | D6 | 2.14 | D6 | 2.479 | D6 | 2.319 | D6 | 1.177 | D6 | 0.761 | D6 | 0.757 | D6 | 0.771 | D6 | 0.57 | D6 | 0.68 | D6 | 11.568 | D6 | 1.408 | D6 | 0.862 | D6 | 0.446 | D6 | 0.535 | D6 | 4.347 | D6 | 4.615 | D6 | 0 | N | 3.633 | D6 | 2.232 | D6 | 1.902 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 44.053 | D6
E3a.15 | Estimated terminal pumping cost | - | E3a.15 | £m | I/C | 0 | M | 0 | M | 0 | M | 0 | N |  | N | 0 | M | 0 | M | 0 | M | 0 | M | 0 | M | 0 | M | 0 | M | 0 | N | 0 | N | 0 | M | 0 | M | 0 | N | 0 | N | 0 | M | 0 | N | 0 | M | [8 empty] | 0 | M
Sludge Treatment and Disposal Costs
E3a.16 | Estimated direct operating cost | - | E3a.16 | £m | I/C | 0 | N | 1.04 | D6 | 2.99 | D6 | 1.823 | D6 | 0 | N | 0 | N | 0 | N | 2.174 | D6 | 0 | N | 0 | N | 2.241 | D6 | 0.711 | D6 | 0 | N | 0 | N | 0 | N | 1.541 | D6 | 1.963 | A3 | 13.295 | D6 | 1.867 | D6 | 0 | N | 0 | N | [8 empty] | 29.645 | D6
E3a.17 | Rates paid by the PPP contractor | - | E3a.17 | £m | I/C | 0 | N | 0.079 | B3 | 0.166 | B3 | 0.357 | B3 | 0 | N | 0 | N | 0 | N | 0.137 | B3 | 0 | N | 0 | N | 0.27 | B3 | 0.091 | B3 | 0 | N | 0 | N | 0 | N | 0.096 | B3 | 0 | N | 0.349 | A2 | 0.18 | B3 | 0 | N | 0 | N | [8 empty] | 1.725 | B3
E3a.18 | SEPA charges paid by the PPP contractor | - | E3a.18 | £m | I/C | 0 | N | 0.033 | A2 | 0.011 | A2 | 0.031 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0.011 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0.009 | A2 | 0.005 | A2 | 0.071 | A2 | 0.026 | A2 | 0 | N | 0 | N | [8 empty] | 0.197 | A2
E3a.19 | Total direct cost | - | E3a.19 | £m | C | 0 | N | 1.152 | D6 | 3.167 | D6 | 2.211 | D6 | 0 | N | 0 | N | 0 | N | 2.311 | D6 | 0 | N | 0 | N | 2.522 | D6 | 0.802 | D6 | 0 | N | 0 | N | 0 | N | 1.646 | D6 | 1.968 | A3 | 13.715 | D6 | 2.073 | D6 | 0 | N | 0 | N | 0 |  | 0 |  | 0 |  | 0 |  | 31.567 | D6
E3a.20 | Scottish Water general & support expenditure | - | E3a.20 | £m | I/C | 0 | N | 0.535 | C4 | 0.229 | C4 | 0.691 | C4 | 0 | N | 0 | N | 0 | N | 0.178 | C4 | 0 | N | 0 | N | 0.08 | C4 | 0.017 | C4 | 0 | N | 0 | N | 0 | N | 0.086 | C4 | 1.614 | A3 | 3.106 | C4 | 0.045 | C4 | 0 | N | 0 | N | [8 empty] | 6.581 | C4
E3a.21 | Scottish Water SEPA charges | - | E3a.21 | £m | I/C | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | [8 empty] | 0 | N
E3a.22 | Total sludge treatment & disposal cost | - | E3a.22 | £m | C | 0 | N | 1.687 | D6 | 3.396 | D6 | 2.902 | D6 | 0 | N | 0 | N | 0 | N | 2.489 | D6 | 0 | N | 0 | N | 2.602 | D6 | 0.819 | D6 | 0 | N | 0 | N | 0 | N | 1.732 | D6 | 3.582 | A3 | 16.821 | D6 | 2.118 | D6 | 0 | N | 0 | N | 0 |  | 0 |  | 0 |  | 0 |  | 38.148 | D6
Total Cost Analysis
E3a.23 | Total direct cost | - | E3a.23 | £m | C | 0.87 | D6 | 3.299 | D6 | 8.197 | D6 | 6.193 | D6 | 1.157 | D6 | 0.793 | D6 | 0.758 | D6 | 3.667 | D6 | 1.078 | D6 | 1.038 | D6 | 14.142 | D6 | 2.184 | D6 | 0.835 | D6 | 0.425 | D6 | 0.513 | D6 | 5.949 | D6 | 6.136 | D6 | 14.245 | D6 | 5.263 | D6 | 1.768 | D6 | 1.457 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 79.967 | D6
E3a.24 | Total Scottish Water cost | - | E3a.24 | £m | C | 0.029 | C4 | 0.696 | C4 | 0.358 | C4 | 1.037 | C4 | 0.026 | C4 | 0.03 | C4 | 0.025 | C4 | 0.208 | C4 | 0.029 | C4 | 0.029 | C4 | 0.462 | C4 | 0.045 | C4 | 0.027 | C4 | 0.021 | C4 | 0.022 | C4 | 0.305 | C4 | 2.061 | C4 | 3.137 | C4 | 0.488 | C4 | 0.464 | C4 | 0.445 | C4 | 0 |  | 0 |  | 0 |  | 0 |  | 9.944 | C4
E3a.25 | Total operating cost | - | E3a.25 | £m | C | 0.899 | D6 | 3.995 | D6 | 8.555 | D6 | 7.23 | D6 | 1.183 | D6 | 0.823 | D6 | 0.783 | D6 | 3.875 | D6 | 1.107 | D6 | 1.067 | D6 | 14.604 | D6 | 2.229 | D6 | 0.862 | D6 | 0.446 | D6 | 0.535 | D6 | 6.254 | D6 | 8.197 | D6 | 17.382 | D6 | 5.751 | D6 | 2.232 | D6 | 1.902 | D6 | 0 |  | 0 |  | 0 |  | 0 |  | 89.911 | D6
E3a.26 | Annual charge | - | E3a.26 | £m | I/C | 3.853 | A1 | 7.958 | A1 | 22.812 | A1 | 15.645 | A1 | 3.004 | A1 | 2.446 | A1 | 2.034 | A1 | 4.419 | A1 | 2.785 | A1 | 3.2 | A1 | 23.045 | B3 | 3.09 | B3 | 1.685 | B3 | 0.843 | B3 | 1.123 | B3 | 12.082 | A1 | 14.322 | A1 | 20.089 | A1 | 6.654 | A1 | 3.616 | A1 | 3.749 | A1 | [8 empty] | 158.454 | A1
E3a.27 | Public sector capital equivalent value | - | E3a.27 | £m | I | 24.966 | B3 | 80.602 | B3 | 216.425 | B3 | 119.33 | B3 | 28.98 | B3 | 23.866 | B3 | 28.98 | B3 | 52.987 | B3 | 39.109 | B3 | 34.063 | B3 | 92.687 | B3 | 13.415 | B3 | 7.317 | B3 | 3.659 | B3 | 4.878 | B3 | 46.333 | B3 | 80.436 | B3 | 121.869 | B3 | 84.577 | B3 | 23.963 | B3 | 23.118 | B3 | [8 empty] | 1151.56 | B3
Contract Information
E3a.28 | Contract period | - | E3a.28 | years | I | 25 | A1 | 25 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 30 | A1 | 40 | A1 | 25 | A1 | 24 | A1 | 30 | A1 | 30 | A1 | 30 | A1
E3a.29 | Contract end date | - | E3a.29 | dd/mm/yy | I | 2022-05-28 | A1 | 2022-05-28 | A1 | 2029-12-16 | A1 | 1930-05-04 | A1 | 1930-05-04 | A1 | 1930-05-04 | A1 | 1930-05-04 | A1 | 1931-06-25 | A1 | 1931-06-25 | A1 | 1931-06-25 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 2029-11-30 | A1 | 1940-10-30 | A1 | 2026-06-15 | A1 | 2026-04-01 | A1 | 1932-09-29 | A1 | 1932-09-29 | A1 | 1932-09-29 | A1
Prepared by: …………………………………………….. |  |  | Date: 15/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E4
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E4: Water Resources and Treatment
[6 empty] | 10 | 20 | 30 | 40 | 100 | 110 | 120 | 130 | 140 | 200 | 299
Line | Description | Ofwat | WICS | Units | Field | 10: Number of Own Sources; 100: Total Number of Sources; 110: Own Source Outputs; 200: Total Source Outputs
Ref. |  | Ref | Reference |  | Type | Area 1 | Area 2 | Area 3 | Area 4 |  | Area 1 | Area 2 | Area 3 | Area 4
|  | JR 07 | AR 06 | [12 empty] | CG | bar: 100; 200
| Source Types |  |  |  |  | 10: number; 110: average daily output (Ml/d); 200: Ml/d
E4.0 | Area Name | - | E4.0 | - | I | North | East | South | West |  | North | East | South | West
E4.1 | Impounding reservoirs | T12, L1 | E4.1 | nr, Ml/d | I/C | 31 | 20 | 25 | 24 | 100 | 78.0579 | 284.5679 | 430.5133 | 498.757 | 1291.8961 | B2
E4.2 | Lochs | - | E4.2 | nr, Ml/d | I/C | 29 | 8 | 0 | 1 | 38 | 11.5212 | 9.412 | 0 | 0 | 20.9333 | B2
E4.3 | River and burn abstractions | T12, L2 | E4.3 | nr, Ml/d | I/C | 44 | 15 | 1 | 14 | 74 | 10.9662 | 156.6782 | 0.019017 | 221.8609 | 389.5243 | B2
E4.4 | Boreholes | T12, L3 | E4.4 | nr, Ml/d | I/C | 21 | 29 | 11 | 2 | 63 | 17.448 | 23.8709 | 22.6359 | 3.402 | 67.3567 | B2
E4.5 | Total | - | E4.5 | nr, Ml/d | C | 125 | 72 | 37 | 41 | 275 | 117.9933 | 474.529 | 453.1682 | 724.0199 | 1769.7104 | B2
E4.6 | Bulk water exports | - | E4.6 | nr, Ml/d | I/C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX
E4.7 | Bulk water imports | - | E4.7 | nr, Ml/d | I/C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | AX
[11 empty] | 110 | 120 | 130 | 140 | 200
[11 empty] | Proportional Breakdown of Source output produced |  |  |  | Proportion of Own Source Output
[11 empty] | Area 1 | Area 2 | Area 3 | Area 4
E4.8 | Impounding reservoirs | - | E4.8 | nr | C | 110: 0.044108; 120: 0.1608; 130: 0.24327; 140: 0.28183; 200: 0.73
E4.9 | Lochs | - | E4.9 | nr | C | 110: 0.0065102; 120: 0.0053184; 130: 0; 140: 0; 200: 0.011829
E4.10 | River and burn abstractions | - | E4.10 | nr | C | 110: 0.0061966; 120: 0.088533; 130: 1.0746e-05; 140: 0.12537; 200: 0.22011
E4.11 | Boreholes | - | E4.11 | nr | C | 110: 0.0098592; 120: 0.013489; 130: 0.012791; 140: 0.0019224; 200: 0.038061
E4.12 | Total | - | E4.12 | nr | C | 110: 0.066674; 120: 0.26814; 130: 0.25607; 140: 0.40912; 200: 1
[6 empty] | 10 | 20
| Peak demand and Pumping Head |  |  |  |  | 10: Total; 20: CG
E4.13 | Peak demand - peak to average ratio | - | E4.13 | nr | I | 10: 1.047; 20: C3
E4.14 | Average pumping head - resources and treatment | T12, L5 | E4.14 | m | I | 10: 27.919; 20: C4
[6 empty] | 10 | 20 | 30 | 40 | 100
Resource and treatment - Costs
[6 empty] | Area 1 | Area 2 | Area 3 | Area 4 | Total | 110
Resources and Treatment costs (operational area) | bar: 100 to 110
E4.15 | Power | T21, L2 | E1.2 | £m | I/C | 3.243 | 3.993 | 2.528 | 4.267 | 14.031 | A2
E4.16 | Service charges by SEPA | T21, L7 | E1.6 | £m | I/C | 0.505 | 0.484 | 0.488 | 0.629 | 2.106 | A2
E4.17 | Total direct costs | T21, L10 | E1.9 | £m | I/C | 12.161 | 13.719 | 9.857 | 15.883 | 51.62 | A2
E4.18 | General and support costs | T21, L11 | E1.10 + E1.11 | £m | I/C | 3.282 | 2.414 | 0.926 | 3.636 | 10.258 | A2
E4.19 | Functional expenditure | T21, L12 | E1.12 | £m | C | 15.443 | 16.133 | 10.783 | 19.519 | 61.878 | A2
[6 empty] | 10 | 20 | 30 | 40 | 100 | 110 | 120
[6 empty] | Total Nr of Works |  | Total volume Dist'n input |  | Tot. prop'n of D.I. | Operating Costs
| Water Treatment Works by Process Type |  |  |  |  | nr | CG | Ml/d | CG | Prop'n (0-1) | £m | CG
E4.20 | Simple Disinfection | T12, L6 | E4.17 | nr, Ml/d, £m | I/C | 23 | A2 | 20.232 | B3 | 0.011432 | 1.472 | A2
E4.21 | W1 | T12, L7 | E4.18 | nr, Ml/d, £m | I/C | 5 | A2 | 0.16 | B3 | 9.041e-05 | 0.238 | A2
E4.22 | W2 | T12, L8 | E4.19 | nr, Ml/d, £m | I/C | 28 | A2 | 626.726 | B3 | 0.35414 | 11.133 | A2
E4.23 | W3 | T12, L9 | E4.20 | nr, Ml/d, £m | I/C | 155 | A2 | 1047.958 | B3 | 0.59216 | 42.548 | A2
E4.24 | W4 | T12, L10 | E4.21 | nr, Ml/d, £m | I/C | 26 | A2 | 74.634 | B3 | 0.042173 | 6.487 | A2
E4.25 | Total numbers of works | T12, L12 | E4.22 | nr | C | 10: 237; 20: A1
E4.26 | Total distribution input | T12, L11 | E4.23 | Ml/d | C | 30: 1769.71; 40: B3; 100: 1
E4.27 | Total Operating costs | - | - | £m | C | 110: 61.878; 120: A2
[6 empty] | 10 | 20 | 30 | 40 | 100 | 110
[6 empty] | Nr of Works |  | Prop'n of D.I. |  | Operating Costs
| Water Treatment Works by Size Band |  |  |  |  | nr | CG | Prop'n (0-1) | CG | £m | CG
E4.28 | Size band <=1 Ml/d | - | E4.30, E4.47 | nr, £m | I/C | 129 | A2 | 0.0123 | B3 | 9.769 | A2
E4.29 | Size band >1 - <=2.5 Ml/d | - | E4.31, E4.48 | nr, £m | I/C | 23 | A2 | 0.0128 | B3 | 3.75 | A2
E4.30 | Size band >2.5 - <=5 Ml/d | - | E4.32, E4.49 | nr, £m | I/C | 22 | A2 | 0.027 | B3 | 4.426 | A2
E4.31 | Size band >5 - <=10 Ml/d | - | E4.33, E4.50 | nr, £m | I/C | 17 | A2 | 0.0453 | B3 | 6.115 | A2
E4.32 | Size band >10 - <=25 Ml/d | - | E4.34, E4.51 | nr, £m | I/C | 19 | A2 | 0.105 | B3 | 9.69 | A2
E4.33 | Size band >25 - <=50 Ml/d | - | E4.35, E4.53 | nr, £m | I/C | 12 | A2 | 0.1555 | B3 | 10.412 | A2
E4.34 | Size band >50 - <=100 Ml/d | - | E4.36, E4.54 | nr, £m | I/C | 9 | A2 | 0.2292 | B3 | 7.471 | A2
E4.35 | Size band >100 - <=175 Ml/d | - | E4.37, E4.55 | nr, £m | I/C | 4 | A2 | 0.214 | B3 | 6.63 | A2
E4.36 | Size band >175 Ml/d | - | E4.38, E4.56 | nr, £m | I/C | 2 | A2 | 0.1989 | B3 | 3.615 | A2
E4.37 | Total number of works | - | E4.39 | nr | C | 10: 237; 20: A1
E4.38 | Proportion of distribution input - total | - | E4.40 | nr | C | bar: 30 to 40
E4.39 | Total operating costs | - | E4.57 | £m | C | 100: 61.878
Prepared by: …………………………………………….. |  |  | Date: 16/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E6
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E6: Water Distribution
[6 empty] | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 50 |  | 60 |  | 199
Line | Description | Ofwat | WICS | Units | Field | Report Year 2019-20
Ref. |  | Ref | Reference |  | Type | Area 1 |  | Area 2 |  | Area 3 |  | Area 4 |  | Area 5 |  | Area 6 |  | Area 7 |  | Area 8 |  | Total
|  | CMR 02, JR07 | AR 06 |  |  |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
Area Data
E6.0 | Name | - | E6.0 | Name | I | North |  | East |  | South |  | West
E6.1 | Annual average resident connected population | - | E6.1 | 000 | I/C | 241.744 | A2 | 1333.492 | A2 | 1763.689 | A2 | 1878.078 | A2 | [8 empty] | 5217.003 | A2
E6.2 | Total connected properties | - | E6.2 | 000 | I/C | 159.004 | B4 | 699.658 | B4 | 905.842 | B4 | 951.89 | B4 | [8 empty] | 2716.394 | B4
E6.3 | Volume of water delivered to households | - | E6.3 | Ml/d | I/C | 56.5 | B2 | 255.05 | B2 | 332.46 | B2 | 349.1 | B2 | [8 empty] | 993.11 | B2
E6.4 | Volume of water delivered to non-households | - | E6.4 | Ml/d | I/C | 21.32 | B4 | 98.09 | B4 | 101.7 | B4 | 160.11 | B4 | [8 empty] | 381.22 | B4
E6.5 | Area | - | E6.5 | km2 | I/C | 35208.13 | A1 | 20371.4 | A1 | 15475.466 | A1 | 8744.407 | A1 | [8 empty] | 79799.403 | A1
E6.6 | Number of supply zones | - | E6.7 | nr | I/C | 113 | A1 | 58 | A1 | 52 | A1 | 59 | A1 | [8 empty] | 282 | A1
Distribution costs
E6.7 | Power | T21, L2 | E1.2 | £m | I/C | 1.01 | A2 | 3.989 | A2 | 1.961 | A2 | 4.329 | A2 | [8 empty] | 11.289 | A2
E6.8 | Service charges by SEPA | T21, L7 | E1.6 | £m | I/C | 0 | A2 | 0.001 | A2 | 0.002 | A2 | 0.001 | A2 | [8 empty] | 0.004 | A2
E6.9 | Total direct costs | T21, L10 | E1.9 | £m | I/C | 7.868 | A2 | 15.102 | A2 | 14.833 | A2 | 18.221 | A2 | [8 empty] | 56.024 | A2
E6.10 | General and support costs | T21, L11 | E1.10 + E1.11 | £m | I/C | 2.737 | A2 | 4.141 | A2 | 4.44 | A2 | 5.011 | A2 | [8 empty] | 16.329 | A2
E6.11 | Functional expenditure | T21, L12 | E1.12 | £m | C | 10.605 | A2 | 19.243 | A2 | 19.273 | A2 | 23.232 | A2 | 0 |  | 0 |  | 0 |  | 0 |  | 72.353 | A2
Water mains data
E6.12 | Potable mains: Band 1 ( <=165mm) | T12,L13 C1 | - | km | I | 6319.51 | A2 | 11655.92 | A2 | 10062.67 | A2 | 7926.27 | A2 | [8 empty] | 35964.37 | A2
E6.13 | Potable mains: Band 2 ( 166 - 320mm) | T12,L13 C2 | - | km | I | 1250.37 | A2 | 2428.97 | A2 | 2795.16 | A2 | 2332.93 | A2 | [8 empty] | 8807.43 | A2
E6.14 | Potable mains: Band 3 ( 321 - 625mm) | T12,L13 C3 | - | km | I | 174.15 | A2 | 978.62 | A2 | 1153.88 | A2 | 771.54 | A2 | [8 empty] | 3078.19 | A2
E6.15 | Potable mains: Band 4 ( >625mm) | T12,L13 C4 | - | km | I | 8 | A2 | 140.47 | A2 | 299.73 | A2 | 443.39 | A2 | [8 empty] | 891.59 | A2
E6.16 | Total length of mains | - | E6.8 | km | C | 7752.03 | A1 | 15203.98 | A1 | 14311.44 | A1 | 11474.13 | A1 | 0 |  | 0 |  | 0 |  | 0 |  | 48741.58 | A1
E6.17 | Total length of unlined iron mains | - | E6.9 | km | I | 742.95 | A2 | 3061.07 | A2 | 6006.39 | A2 | 4765.97 | A2 | [8 empty] | 14576.38 | A2
E6.18 | Total length of mains > 320mm diameter | - | E6.10 | km | C | 182.15 | A2 | 1119.09 | A2 | 1453.61 | A2 | 1214.93 | A2 | 0 |  | 0 |  | 0 |  | 0 |  | 3969.78 | A2
E6.19 | Water mains bursts | - | E6.11 | nr | I | 1154 | B3 | 1367 | B3 | 2277 | B3 | 2498 | B3 | [8 empty] | 7296 | B3
E6.20 | Leakage level | - | E6.12 | Ml/d | I | 43.87 | B3 | 78.36 | B3 | 143.07 | B3 | 188.71 | B3 | [8 empty] | 454.01 | B3
E6.21 | Properties reported for low pressure | - | E6.13 | nr | I/C | 44 | B2 | 316 | B2 | 36 | B2 | 11 | B2 | [8 empty] | 407 | B2
Pumping Stations
E6.22 | Total number of pumping stations | - | E6.14 | nr | I/C | 183 | A2 | 185 | A2 | 129 | A2 | 119 | A2 | [8 empty] | 616 | A2
E6.23 | Total capacity of pumping stations | - | E6.15 | m3/d | I/C | 165025.272 | C4 | 610952.151 | C4 | 602336.065 | C4 | 1056104.319 | C4 | [8 empty] | 2434417.807 | C4
E6.24 | Total capacity of booster pumping stations | CM3, L18 | E6.15a | Kw | I/C | 3201.77 | A3 | 11736.18 | A3 | 10488.84 | A3 | 17549.605 | A3 | [8 empty] | 42976.395 | A3
E6.25 | Average pumping head | - | E6.16 | m | I | 21.464 | C4 | 29.268 | C4 | 27.116 | C4 | 33.029 | C4 | [8 empty] | 29.872 | C4
Service Reservoirs
E6.26 | Total number of service reservoirs | CM3, 13 | E6.17 | nr | I/C | 404 | A2 | 440 | A2 | 242 | A2 | 219 | A2 | [8 empty] | 1305 | A2
E6.27 | Total capacity of service reservoirs | CM3, L14 | E6.18 | Ml | I/C | 231.013 | A2 | 1187.405 | A2 | 956.612 | A2 | 1573.737 | A2 | [8 empty] | 3948.767 | A2
Water Towers
E6.28 | Total number of water towers | CM3, L15 | E6.19 | nr | I/C | 3 | A2 | 5 | A2 | 6 | A2 | 4 | A2 | [8 empty] | 18 | A2
E6.29 | Total capacity of tower towers | CM3, L16 | E6.20 | Ml | I/C | 0.532 | A2 | 3.613 | A2 | 12.544 | A2 | 12.577 | A2 | [8 empty] | 29.266 | A2
Prepared by: …………………………………………….. |  |  | Date: 16/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E7
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E7: Wastewater Explanatory Factors - Sewerage & Sewage treatment by area
[6 empty] | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 199
Line | Description | Ofwat | WICS | Units | Field | Report Year 2019-20
Ref. |  | Ref | Reference |  | Type | Area 1 |  | Area 2 |  | Area 3 |  | Area 4 |  | Area 5 |  | Area 6 |  | Area 7 |  | Area 8 |  | Total
|  | JR 07 | AR 10 |  |  |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
Area Data
E7.0 | Name | - | E7.0 | Name | I | North |  | East |  | South |  | West
E7.1 | Annual average resident connected population | T17a, L1 | E7.1 | 000 | I/C | 219.758 | B2 | 1255.547 | B2 | 1632.262 | B2 | 1900.561 | B2 | [8 empty] | 5008.128 | B2
E7.2 | Annual average non- resident connected population | T17a, L2 | E7.2 | 000 | I/C | 25.487 | B3 | 22.232 | B3 | 14.137 | B3 | 14.48 | B3 | [8 empty] | 76.336 | B3
E7.3 | Volume of sewage collected (daily average) | T17a, L3 | E7.3 | Ml/d | I/C | 177.157 | C3 | 688.092 | C3 | 960.898 | C3 | 1094.651 | C3 | [8 empty] | 2920.798 | C3
E7.4 | Total connected properties | T17a, L4 | E7.4 | nr | I/C | 130290 | B3 | 654424 | B3 | 868558 | B3 | 932217 | B3 | [8 empty] | 2585489 | B3
E7.5 | Area of Sewerage District | T17a, L5 | E7.5 | km 2 | I/C | 35208.13 | A1 | 20371.4 | A1 | 15475.466 | A1 | 8744.407 | A1 | [8 empty] | 79799.403 | A1
E7.6 | Drained Area | - | E7.6 | km2 | I/C | 157.689 | A1 | 527.453 | A1 | 625.19 | A1 | 646.218 | A1 | [8 empty] | 1956.55 | A1
E7.7 | Annual Precipitation | - | E7.7 | mm | I | 2138 | C3 | 1396 | C3 | 1700 | C3 | 2193 | C3 | [8 empty] | 1803 | C3
Sewerage Data
E7.8 | Total length of sewer | T17a, L6 | E7.8 | km | I/C | 3933.69 | B2 | 14204.54 | B2 | 17989.59 | B2 | 16682.09 | B2 | [8 empty] | 52809.91 | B2
E7.9 | Total length of lateral sewer | - | E7.9 | km | I/C | 1157.94 | B2 | 5073.06 | B2 | 6445.96 | B2 | 6609.5 | B2 | [8 empty] | 19286.46 | B2
E7.10 | Length of combined sewer | - | E7.10 | km | I/C | 1446.26 | B2 | 4419.22 | B2 | 5484.52 | B2 | 6184.16 | B2 | [8 empty] | 17534.16 | B2
E7.11 | Length of separate stormwater sewer | - | E7.11 | km | I/C | 553.65 | B2 | 2482.55 | B2 | 3267.14 | B2 | 2175.91 | B2 | [8 empty] | 8479.25 | B2
E7.12 | Length of sewer > 1000 mm diameter | - | E7.12 | km | I/C | 15.27 | B2 | 162.2 | B2 | 267.11 | B2 | 409.77 | B2 | [8 empty] | 854.35 | B2
E7.14 | Sewer Collapses | - | E7.14 | nr | I/C | 44 | B4 | 353 | B4 | 513 | B4 | 448 | B4 | [8 empty] | 1358 | B4
Sewerage costs
E7.15 | Power | T22, L2 | E2.2 | £m | I/C | 1.147 | A2 | 2.427 | A2 | 2.304 | A2 | 4.095 | A2 | [8 empty] | 9.973 | A2
E7.16 | Service charges by SEPA | T22, L7 | E2.5 | £m | I/C | 0.307 | A2 | 0.831 | A2 | 0.893 | A2 | 0.951 | A2 | [8 empty] | 2.982 | A2
E7.17 | Total direct costs | T22, L9 | E2.7 | £m | C | 4.26 | A2 | 8.479 | A2 | 9.319 | A2 | 13.223 | A2 | [8 empty] | 35.281 | A2
E7.18 | General and support costs | T22, L10 | E2.8 | £m | I/C | 2.531 | A2 | 4.046 | A2 | 2.963 | A2 | 3.227 | A2 | [8 empty] | 12.767 | A2
E7.19 | Functional expenditure | T22, L11 | E2.9 | £m | C | 6.791 | A2 | 12.525 | A2 | 12.282 | A2 | 16.45 | A2 | [8 empty] | 48.048 | A2
Pumping Stations
E7.20 | Total number of pumping stations | - | E7.15 | nr | I/C | 527 | A3 | 814 | A3 | 450 | A3 | 465 | A3 | [8 empty] | 2256 | A3
E7.21 | Total capacity of pumping stations (m3/d) | - | E7.16 | m3/d | I/C | 1845801 | C4 | 3760214 | C4 | 3217981 | C4 | 5828754 | C4 | [8 empty] | 14652750 | C4
E7.22 | Total capacity of pumping stations (kw) | - | E7.16a | Kw | I/C | 11384 | A3 | 26451 | A3 | 17359 | A3 | 42400 | A3 | [8 empty] | 97594 | A3
E7.23 | Average pumping head | - | E7.17 | m | I | 71.9 | C5 | 36.5 | C5 | 22.1 | C5 | 41 | C5 | [8 empty] | 33.64 | C5
E7.24 | Total number of combined pumping stations | - | E7.18 | nr | I/C | 315 | A3 | 462 | A3 | 262 | A3 | 289 | A3 | [8 empty] | 1328 | A3
E7.25 | Total capacity of combined pumping stations | - | E7.19 | m3/d | I/C | 1307800 | C4 | 2804556 | C4 | 2462606 | C4 | 4166452 | C4 | [8 empty] | 10741414 | C4
E7.26 | Total number of stormwater pumping stations | - | E7.20 | nr | I/C | 16 | A3 | 17 | A3 | 6 | A3 | 10 | A3 | [8 empty] | 49 | A3
E7.27 | Total capacity of stormwater pumping stations | - | E7.21 | m3/d | I/C | 145637 | C4 | 173833 | C4 | 26210 | C4 | 309683 | C4 | [8 empty] | 655363 | C4
E7.28 | Number of combined sewer overflows | - | E7.22 | nr | I/C | 365 | A3 | 772 | A3 | 928 | A3 | 1007 | A3 | [8 empty] | 3072 | A3
E7.29 | Number of combined sewer overflows (screened) | - | E7.23 | nr | I/C | 186 | A3 | 228 | A3 | 329 | A3 | 476 | A3 | [8 empty] | 1219 | A3
Sewage treatment works
E7.30 | Number of sewage treatment works | - | - | nr | I/C | 564 | A2 | 584 | A2 | 487 | A2 | 202 | A2 | [8 empty] | 1837 | A2
E7.31 | Total Load | - | - | kg BOD/day | I/C | 12752 | B3 | 46403 | B3 | 68358 | B3 | 98699 | B3 | [8 empty] | 226212 | B3
Sewage treatment costs
E7.32 | Power | T22, L2 | E2.2 | £m | I/C | 1.804 | A2 | 4.43 | A2 | 7.147 | A2 | 6.66 | A2 | [8 empty] | 20.041 | A2
E7.33 | Service charges by SEPA | T22, L7 | E2.5 | £m | I/C | 1.012 | A2 | 1.742 | A2 | 2.094 | A2 | 1.477 | A2 | [8 empty] | 6.325 | A2
E7.34 | Total direct costs | T22, L9 | E2.7 | £m | I/C | 6.948 | A2 | 13.297 | A2 | 18.804 | A2 | 16.339 | A2 | [8 empty] | 55.388 | A2
E7.35 | General and support costs | T22, L10 | E2.8 | £m | I/C | 1.473 | A2 | 2.535 | A2 | 3.093 | A2 | 3.861 | A2 | [8 empty] | 10.962 | A2
E7.36 | Functional expenditure | T22, L11 | E2.9 | £m | I/C | 8.421 | A2 | 15.832 | A2 | 21.897 | A2 | 20.2 | A2 | [8 empty] | 66.35 | A2
Prepared by: …………………………………………….. |  |  | Date: 16/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E8
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E8: Wastewater Explanatory Factors - Sewage Treatment Works
[6 empty] | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 199
Line | Description | Ofwat | WICS | Units | Field | Treatment Category | [21 empty] | Total
Ref. |  | Ref | Reference |  | Type | Septic Tanks |  | Primary |  | Sec Activated Sludge |  | Sec biological
|  | JR 07 | AR 06 |  |  |  | CG |  | CG |  | CG |  | CG | TertiaryA1 | CG | Tertiary A2 | CG | Tertiary B1 | CG | Tertiary B2 | CG | Sea Preliminary | CG | Sea Screened | CG | Sea Unscreened | CG |  | CG
Numbers
E8.1 | Size Band 0 | - | E8.1 | nr | I/C | 973 | B3 | 4 | B3 | 11 | B3 | 100 | B3 | 8 | B3 | 1 | B3 | 9 | B3 | 2 | B3 | 0 | AX | 0 | AX | 7 | B3 | 1115 | B3
E8.2 | Size Band 1 | T17c, L1 | E8.2 | nr | I/C | 113 | B3 | 8 | B3 | 19 | B3 | 47 | B3 | 5 | B3 | 5 | B3 | 9 | B3 | 2 | B3 | 0 | AX | 0 | AX | 1 | B3 | 209 | B3
E8.3 | Size Band 2 | T17c, L2 | E8.3 | nr | I/C | 62 | B3 | 7 | B3 | 21 | B3 | 44 | B3 | 2 | B3 | 2 | B3 | 10 | B3 | 2 | B3 | 0 | AX | 0 | AX | 0 | AX | 150 | B3
E8.4 | Size Band 3 | T17c, L3 | E8.4 | nr | I/C | 30 | B3 | 12 | B3 | 39 | B3 | 65 | B3 | 7 | B3 | 4 | B3 | 18 | B3 | 5 | B3 | 0 | AX | 3 | B3 | 0 | AX | 183 | B3
E8.5 | Size Band 4 | T17c, L4 | E8.5 | nr | I/C | 0 | AX | 8 | B3 | 47 | B3 | 36 | B3 | 8 | B3 | 3 | B3 | 9 | B3 | 2 | B3 | 8 | B3 | 0 | AX | 0 | AX | 121 | B3
E8.6 | Size Band 5 | T17c, L5 | E8.6 | nr | I/C | 0 | AX | 1 | B3 | 20 | B3 | 3 | B3 | 5 | B3 | 3 | B3 | 3 | B3 | 1 | B3 | 0 | AX | 0 | AX | 0 | AX | 36 | B3
E8.7 | Size Band 6 (Large Works) | T17c, L6 | E8.7 | nr | I/C | 0 | AX | 0 | AX | 19 | B3 | 1 | B3 | 1 | B3 | 1 | B3 | 1 | B3 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 23 | B3
E8.8 | Total Sewage Treatment Works | T17c, L7 | E8.8 | nr | C | 1178 | A2 | 40 | A2 | 176 | A2 | 296 | A2 | 36 | A2 | 19 | A2 | 59 | A2 | 14 | A2 | 8 | A2 | 3 | A2 | 8 | A2 | 1837 | A2
E8.9 | Small Sewage treatment works with ammonia consent 5 - 10 mg/l | T17c, L8 | E8.9 | nr | I/C | 0 | AX | 0 | AX | 12 | A1 | 23 | A1 | 4 | A1 | 1 | A1 | 4 | A1 | 1 | A1 | 0 | AX | 0 | AX | 0 | AX | 45 | A1
E8.10 | Small Sewage treatment works with ammonia consent <= 5 mg/l | T17c, L9 | E8.10 | nr | I/C | 0 | AX | 0 | AX | 18 | A1 | 16 | A1 | 12 | A1 | 4 | A1 | 13 | A1 | 5 | A1 | 0 | AX | 0 | AX | 0 | AX | 68 | A1
| Loading (average daily load)\ | [26 empty] | Total excluding Septic Tanks
E8.11 | Size Band 0 | - | E8.11 | kg BOD/day | I/C | 1581 | B3 | 12 | B3 | 49 | B3 | 260 | B3 | 37 | B3 | 3 | B3 | 33 | B3 | 8 | B3 | 0 | AX | 0 | AX | 17 | B3 | 419 | B3
E8.12 | Size Band 1 | T17d, L1 | E8.12 | kg BOD/day | I/C | 1172 | B3 | 81 | B3 | 200 | B3 | 528 | B3 | 53 | B3 | 58 | B3 | 96 | B3 | 22 | B3 | 0 | AX | 0 | AX | 7 | B3 | 1045 | B3
E8.13 | Size Band 2 | T17d, L2 | E8.13 | kg BOD/day | I/C | 1344 | B3 | 185 | B3 | 499 | B3 | 1019 | B3 | 53 | B3 | 47 | B3 | 215 | B3 | 41 | B3 | 0 | AX | 0 | AX | 0 | AX | 2059 | B3
E8.14 | Size Band 3 | T17d, L3 | E8.14 | kg BOD/day | I/C | 1683 | B3 | 732 | B3 | 2856 | B3 | 4559 | B3 | 554 | B3 | 270 | B3 | 1074 | B3 | 359 | B3 | 0 | AX | 227 | B3 | 0 | AX | 10631 | B3
E8.15 | Size Band 4 | T17d, L4 | E8.15 | kg BOD/day | I/C | 0 | AX | 1812 | B3 | 15450 | B3 | 10644 | B3 | 2163 | B3 | 586 | B3 | 2484 | B3 | 427 | B3 | 1819 | B3 | 0 | AX | 0 | AX | 35385 | B3
E8.16 | Size Band 5 | T17d, L5 | E8.16 | kg BOD/day | I/C | 0 | AX | 667 | B3 | 17469 | B3 | 2475 | B3 | 4845 | B3 | 2238 | B3 | 2759 | B3 | 802 | B3 | 0 | AX | 0 | AX | 0 | AX | 31255 | B3
E8.17 | Size Band 6 (large works) | T17d, L6 | E8.17 | kg BOD/day | I/C | 0 | N | 0 | AX | 115495 | B3 | 3610 | B3 | 17127 | B3 | 1800 | B3 | 1604 | B3 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 139636 | B3
E8.18 | Total Load Received | T17d, L7 | E8.18 | kg BOD/day | C | 5780 | B3 | 3489 | B3 | 152018 | B3 | 23095 | B3 | 24832 | B3 | 5002 | B3 | 8265 | B3 | 1659 | B3 | 1819 | B3 | 227 | B3 | 24 | B3 | 220430 | B3
E8.19 | Small Sewage treatment works with ammonia consent 5 - 10 mg/l | T17d, L8 | E8.19 | kg BOD/day | I/C | 0 | AX | 0 | AX | 3715 | A1 | 1699 | A1 | 2062 | A1 | 0 | AX | 243 | A1 | 245 | A1 | 0 | AX | 0 | AX | 0 | AX | 7964 | A1
E8.20 | Small Sewage treatment works with ammonia consent <= 5 mg/l | T17d, L9 | E8.20 | kg BOD/day | I/C | 0 | AX | 0 | AX | 15238 | A1 | 2159 | A1 | 18439 | A1 | 3192 | A1 | 2467 | A1 | 1156 | A1 | 0 | AX | 0 | AX | 0 | AX | 42651 | A1
Compliance
E8.21 | Size Band 0 | - | E8.21 | % | I |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 100% | B2
E8.22 | Size Band 1 | - | E8.22 | % | I/C |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 92.31% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.23 | Size Band 2 | - | E8.23 | % | I/C |  |  | 87.5% | B2 | 100% | B2 | 97.73% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.24 | Size Band 3 | - | E8.24 | % | I/C |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX
E8.25 | Size Band 4 | - | E8.25 | % | I/C |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX
E8.26 | Size Band 5 | - | E8.26 | % | I/C |  |  | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.27 | Size Band 6 (large works) | - | E8.27 | % | I/C |  |  | 0% | AX | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX | 0% | AX | 0% | AX
E8.28 | Average compliance by works - all sizes | - | E8.28 | % | I/C |  |  | 97.5% | B2 | 100% | B2 | 99.66% | B2 | 100% | B2 | 100% | B2 | 98.31% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2
E8.29 | Small Sewage treatment works with ammonia consent 5 - 10 mg/l | - | E8.29 | % | I/C |  |  | 0% | AX | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
E8.30 | Small Sewage treatment works with ammonia consent <= 5 mg/l | - | E8.30 | % | I/C |  |  | 0% | AX | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 100% | B2 | 0% | AX | 0% | AX | 0% | AX
| Costs | [26 empty] | Total
E8.31 | Direct costs for works in size band 0 | - | E8.31 | £000 | I/C | 908.268 | A2 | 7.369 | A2 | 125.795 | A2 | 583.895 | A2 | 97.153 | A2 | 5.896 | A2 | 82.848 | A2 | 17.789 | A2 | 0 | AX | 0 | AX | 7.858 | A2 | 1836.871 | A2
E8.32 | Direct costs for works in size band 1 | T17f, L1 | E8.32 | £000 | I/C | 671.36 | A2 | 32.104 | A2 | 287.429 | A2 | 689.107 | A2 | 83.082 | A2 | 101.015 | A2 | 158.448 | A2 | 23.99 | A2 | 0 | AX | 0 | AX | 1.305 | A2 | 2047.84 | A2
E8.33 | Direct costs for works in size band 2 | T17f, L2 | E8.33 | £000 | I/C | 760.091 | A2 | 117.297 | A2 | 793.702 | A2 | 1084.132 | A2 | 81.211 | A2 | 73.352 | A2 | 267.508 | A2 | 57.299 | A2 | 0 | AX | 0 | AX | 0 | AX | 3234.592 | A2
E8.34 | Direct costs for works in size band 3 | T17f, L3 | E8.34 | £000 | I/C | 779.261 | A2 | 393.357 | A2 | 2348.88 | A2 | 2636.248 | A2 | 491.703 | A2 | 292.869 | A2 | 882.65 | A2 | 255.433 | A2 | 0 | AX | 31.104 | A2 | 0 | AX | 8111.505 | A2
E8.35 | Direct costs for works in size band 4 | T17f, L4 | E8.35 | £000 | I/C | 0 | AX | 527.034 | A2 | 6316.041 | A2 | 3422.545 | A2 | 1077.057 | A2 | 382.075 | A2 | 1257.695 | A2 | 288.306 | A2 | 227.667 | A2 | 0 | AX | 0 | AX | 13498.42 | A2
E8.36 | Direct costs for works in size band 5 | T17f, L5 | E8.36 | £000 | I/C | 0 | AX | 376.642 | A2 | 5069.551 | A2 | 671.478 | A2 | 1832.518 | A2 | 714.942 | A2 | 685.218 | A2 | 266.641 | A2 | 0 | AX | 0 | AX | 0 | AX | 9616.99 | A2
E8.37 | Direct costs for works in size band 6 (large works) | T17f, L6 | E8.37 | £000 | I/C | 0 | AX | 0 | AX | 14261.4 | A2 | 837.352 | A2 | 1346.383 | A2 | 505.307 | A2 | 91.391 | A2 | 0 | AX | 0 | AX | 0 | AX | 0 | AX | 17041.833 | A2
E8.38 | Direct costs for all sewage treatment works | T17f, L7 | E8.38 | £000 | C | 3118.98 | A2 | 1453.803 | A2 | 29202.798 | A2 | 9924.757 | A2 | 5009.107 | A2 | 2075.456 | A2 | 3425.758 | A2 | 909.458 | A2 | 227.667 | A2 | 31.104 | A2 | 9.163 | A2 | 55388.051 | A2
E8.39 | General and support expenditure | T17f, L12 | E8.39 | £000 | I/C | 633.316 | A2 | 322.009 | A2 | 5479.402 | A2 | 2427.73 | A2 | 861.329 | A2 | 333.786 | A2 | 719.504 | A2 | 135.631 | A2 | 43.291 | A2 | 4.901 | A2 | 1.224 | A2 | 10962.123 | A2
E8.40 | Functional expenditure | T17f, L13 | E8.40 | £000 | C | 3752.296 | A2 | 1775.812 | A2 | 34682.2 | A2 | 12352.487 | A2 | 5870.436 | A2 | 2409.242 | A2 | 4145.262 | A2 | 1045.089 | A2 | 270.958 | A2 | 36.005 | A2 | 10.387 | A2 | 66350.174 | A2
E8.41 | Power costs | T17f, L10 | E8.41 | £000 | I/C | 237.435 | A2 | 409.467 | A2 | 12766.557 | A2 | 2339.642 | A2 | 2409.382 | A2 | 871.969 | A2 | 667.603 | A2 | 275.684 | A2 | 61.88 | A2 | 0 | AX | 1.69 | A2 | 20041.309 | A2
E8.42 | Service charges SEPA | T17f, L11 | E8.42 | £000 | I/C | 1107.463 | A2 | 165.298 | A2 | 2527.656 | A2 | 1414.213 | A2 | 407.941 | A2 | 139.235 | A2 | 416.02 | A2 | 81.465 | A2 | 39.661 | A2 | 21.44 | A2 | 4.335 | A2 | 6324.727 | A2
Prepared by: …………………………………………….. |  |  | Date: 16/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E9
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENT 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E9: Large Sewage Treatment Works Information Database
[6 empty] | 10 |  | 20 |  | 30 |  | 40 |  | 50 |  | 60 |  | 70 |  | 80 |  | 90 |  | 100 |  | 110 |  | 120 |  | 130 |  | 140 |  | 150 |  | 160 |  | 170 |  | 180 |  | 190 |  | 200 |  | 210 |  | 220 |  | 230 |  | 240 |  | 250 |  | 260 |  | 270 |  | 280 |  | 290 |  | 300 |  | 310 |  | 320 |  | 330 |  | 340 |  | 350 |  | 360 |  | 370 |  | 380 |  | 390 |  | 400 |  | 410 |  | 420 |  | 430 |  | 440 |  | 450 |  | 460 |  | 470 |  | 480 |  | 490 |  | 500
Line | Description | Ofwat | WICS | Units | Field | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24 |  | 25 |  | 26 |  | 27 |  | 28 |  | 29 |  | 30 |  | 31 |  | 32 |  | 33 |  | 34 |  | 35 |  | 36 |  | 37 |  | 38 |  | 39 |  | 40 |  | 41 |  | 42 |  | 43 |  | 44 |  | 45 |  | 46 |  | 47 |  | 48 |  | 49 |  | 50
Ref. |  | Ref | Reference |  | Type
|  | JR 07 | AR 06 |  |  |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
| Works Size |  |  |  |  | STW000011 |  | STW001979 |  | STW000033 |  | STW000085 |  | STW000125 |  | STW001975 |  | STW000218 |  | STW000222 |  | STW003728 |  | STW001984 |  | STW000265 |  | STW000281 |  | STW001989 |  | STW000355 |  | STW001977 |  | STW001982 |  | STW000455 |  | STW001712 |  | STW000576 |  | STW000642 |  | STW002268 |  | STW000719 |  | STW003824
E9.0 | Name | T17b, L1 | E9.0 | Name | I | Allers |  | Alloa |  | Ardoch |  | Bothwellbank |  | Carbarns |  | Dalderse |  | Daldowie |  | Dalmarnock |  | Dunbar |  | Dunfermline |  | Dunnswood |  | Erskine |  | Galashiels |  | Hamilton |  | Kinneil Kerse |  | Kirkcaldy |  | Laighpark (Paisley) |  | Perth |  | Philipshill |  | Shieldhall |  | Stirling |  | Troqueer |  | Inverurie
E9.0a | Name of operational area | - | - | Name | I | South |  | West |  | West |  | South |  | South |  | West |  | South |  | West |  | South |  | East |  | West |  | West |  | South |  | South |  | South |  | East |  | West |  | East |  | South |  | West |  | West |  | South |  | East
E9.1 | Population equivalent of total load received | T17b, L2 | E9.5 | 000 | I | 34 | B3 | 44 | B3 | 61 | B3 | 25 | B3 | 49 | B3 | 92 | B3 | 285 | B3 | 241 | B3 | 30 | B3 | 85 | B3 | 30 | B3 | 83 | B3 | 27 | B3 | 63 | B3 | 53 | B3 | 60 | B3 | 120 | B3 | 116 | B3 | 65 | B3 | 623 | B3 | 68 | B3 | 46 | B3 | 26 | B3
Compliance
E9.2 | Suspended solids consent | T17b, L3 | E9.11 | mg/l | I | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 0 | N | 100 | A1 | 0 | N | 100 | A1 | 0 | N | 100 | A1 | 100 | A1 | 0 | N
E9.3 | BOD consent | T17b, L4 | E9.12 | mg/l | I | 20 | A1 | 75 | A1 | 75 | A1 | 8 | A1 | 15 | A1 | 20 | A1 | 15 | A1 | 25 | A1 | 20 | A1 | 75 | A1 | 6 | A1 | 75 | A1 | 25 | A1 | 20 | A1 | 75 | A1 | 0 | N | 15 | A1 | 0 | N | 10 | A1 | 20 | A1 | 75 | A1 | 20 | A1 | 0 | N
E9.4 | COD consent | T17b, L5 | E9.13 | mg/l | I | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1 | 125 | A1
E9.5 | Ammonia consent | T17b, L6 | E9.14 | mg/l | I | 5 | A1 | 30 | A1 | 0 | N | 13 | A1 | 2 | A1 | 25 | A1 | 5 | A1 | 11 | A1 | 4 | A1 | 0 | N | 1 | A1 | 40 | A1 | 15 | A1 | 5 | A1 | 15 | A1 | 0 | N | 20 | A1 | 0 | N | 2 | A1 | 20 | A1 | 45 | A1 | 0 | N | 0 | N
E9.6 | Phosphate consent | T17b, L7 | E9.15 | mg/l | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.7 | Compliance with effluent consent standard | - | E9.16 | % | I | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | 1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 100 | A1 | 99.17 | A1 | 100 | A1 | 100 | A1 | 100 | A1
Treatment Works Category
E9.8 | Primary | T17b, L8 | E9.19 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1
E9.9 | Secondary activated sludge | T17b, L8 | E9.20 | 1/0 | I | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 1 | A1 | 0 | N | 1 | A1
E9.10 | Secondary biological | T17b, L8 | E9.21 | 1/0 | I | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N
E9.11 | Tertiary A1 | T17b, L8 | E9.22 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.12 | Tertiary A2 | T17b, L8 | E9.23 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
E9.13 | Tertiary B1 | T17b, L8 | E9.24 | 1/0 | I | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 1 | A1 | 0 | N
E9.14 | Tertiary B2 | T17b, L8 | E9.25 | 1/0 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
Works Cost
E9.15 | Power costs | T17b, L10 | E9.34 | £'000 | I | 151.697 | A2 | 254.3 | A2 | 81.786 | A2 | 124.481 | A2 | 214.915 | A2 | 76.302 | A2 | 979.17 | A2 | 1222.125 | A2 | 326.274 | A2 | 36.401 | A2 | 192.442 | A2 | 415.383 | A2 | -42.346 | A2 | 420.216 | A2 | 323.06 | A2 | 483.661 | A2 | 551.84 | A2 | 462.299 | A2 | 677.954 | A2 | 1743.974 | A2 | 320.63 | A2 | 187.794 | A2 | 64.598 | A2
E9.16 | Service charges SEPA | T17b, L11 | E9.37 | £'000 | I | 30.337 | A2 | 38.201 | A2 | 54.462 | A2 | 33.06 | A2 | 43.661 | A2 | 70.881 | A2 | 134.103 | A2 | 154.927 | A2 | 9.346 | A2 | 55.76 | A2 | 27.705 | A2 | 60.726 | A2 | 31.371 | A2 | 42.339 | A2 | 55.842 | A2 | 48.486 | A2 | 157.019 | A2 | 60.529 | A2 | 44.899 | A2 | 211.132 | A2 | 60.082 | A2 | 40.775 | A2 | 25.764 | A2
E9.17 | Total direct costs | T17b, L9 | E9.39 | £'000 | I | 454.253 | A2 | 699.932 | A2 | 332.076 | A2 | 224.705 | A2 | 385.059 | A2 | 388.362 | A2 | 1346.311 | A2 | 1870.115 | A2 | 505.278 | A2 | 261.344 | A2 | 390.515 | A2 | 679.619 | A2 | 91.405 | A2 | 779.346 | A2 | 705.586 | A2 | 836.882 | A2 | 819.712 | A2 | 740.581 | A2 | 1237.382 | A2 | 2769.074 | A2 | 893.252 | A2 | 388.282 | A2 | 241.277 | A2
E9.18 | General and support expenditure | T17b, L12 | E9.40 | £'000 | I | 120.089 | A2 | 76.186 | A2 | 108.457 | A2 | 29.926 | A2 | 25.928 | A2 | 101.708 | A2 | 36.522 | A2 | 250.91 | A2 | 42.775 | A2 | 22.496 | A2 | 46.229 | A2 | 107.214 | A2 | 20.334 | A2 | 91.888 | A2 | 118.203 | A2 | 78.658 | A2 | 85.421 | A2 | 89.862 | A2 | 79.358 | A2 | 473.671 | A2 | 248.426 | A2 | 34.988 | A2 | 49.358 | A2
E9.19 | Functional Expenditure | T17b, L13 | E9.41 | £'000 | C | 574.342 |  | 776.118 |  | 440.533 |  | 254.631 |  | 410.987 |  | 490.07 |  | 1382.833 |  | 2121.025 |  | 548.053 |  | 283.84 |  | 436.744 |  | 786.833 |  | 111.739 |  | 871.234 |  | 823.789 |  | 915.54 |  | 905.133 |  | 830.443 |  | 1316.74 |  | 3242.745 |  | 1141.678 |  | 423.27 |  | 290.635 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
E9.20 | Estimated terminal pumping station costs | T17b, L14 | E9.42 | £'000 | I | 0 | N | 0 | N | 24.536 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 366.638 | A2 | 97.882 | A2 | 10.92 | A2 | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 120.915 | A2 | 165.552 | A2 | 138.69 | A2 | 0 | N | 523.192 | A2 | 96.189 | A2 | 0 | N | 0 | N
E9.21 | Estimated sludge costs | T17b, L15 | E9.43 | £'000 | I | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N | 0 | N
Prepared by: …………………………………………….. |  |  | Date: 16/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by:

## E10
SCOTTISH WATER
ANNUAL RETURN INFORMATION REQUIREMENTS 2020
SECTION E : OPERATING COSTS AND EFFICIENCY
Table E10: Sludge Treatment and Disposal
[6 empty] | 10 |  | 11 |  | 12 |  | 20 |  | 30 |  | 31 |  | 32 |  | 50 |  | 199
Line | Description | Ofwat | WICS | Units | Field | Disposal category
Ref. |  | Ref | Reference |  | Type | Farmland Untreated |  | Farmland Conventional |  | Farmland Advanced |  | Incineration |  | Landfill |  | Composted |  | Land Reclamation |  | Other |  | Total
|  | JR 07 | AR 06 |  |  |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG |  | CG
Sludge volumes
E10.1 | Resident population served | T17g, L1 | E10.1 | 000 | I | 0 | AX | 219.46 | C3 | 1162.155 | C3 | 976.387 | C3 | 16.425 | C3 | 0 | AX | 230.608 | C3 | 0 | AX | 2605.035 | C3
E10.2 | Amount of sewage sludge | T17g, L2 | E10.2 | ttds | I | 0 | AX | 2.61 | B4 | 10.993 | B4 | 0 | AX | 0.37 | B4 | 0 | AX | 2.839 | B4 | 0 | AX | 16.812 | B4
Sludge Treatment and Disposal costs
E10.3 | Sludge Treatment direct costs | T17g, L3 | - | £000 | I | 0 | BX | 1397.796 | B2 | 5303.615 | B2 | 0 | BX | 548.734 | B2 | 0 | BX | 4283.294 | B2 | 0 | BX | 11533.439
E10.4 | Sludge disposal direct costs | T17g, L4 | - | £000 | I | 0 | BX | 189.766 | B2 | 950.842 | B2 | 0 | BX | 418.57 | B2 | 0 | BX | 1144.164 | B2 | 0 | BX | 2703.342
E10.5 | Sludge treatment & disposal: Power costs | T17g, L6 | E10.4 | £000 | I | 0 | BX | 365.792 | B2 | 538.58 | B2 | 0 | BX | 46.741 | B2 | 0 | BX | 1513.796 | B2 | 0 | BX | 2464.909
E10.6 | Sludge treatment & disposal: Service charges SEPA | T17g, L7 | E10.7 | £000 | I | 0 | BX | 19.374 | B2 | 28.35 | B2 | 0 | BX | 5.965 | B2 | 0 | BX | 33.81 | B2 | 0 | BX | 87.499
E10.7 | Sludge treatment & disposal: Total direct costs | T17g, L5 | E10.9 | £000 | C | 0 |  | 1587.562 |  | 6254.457 |  | 0 |  | 967.304 |  | 0 |  | 5427.458 |  | 0 |  | 14236.781
E10.8 | Sludge treatment and disposal: General and support expenditure | T17g, L8 | E10.10 | £000 | I | 0 | BX | 311.88 | B2 | 1630.319 | B2 | 0 | BX | 418.32 | B2 | 0 | BX | 1403.208 | B2 | 0 | BX | 3763.727
E10.9 | Sludge Treatment and disposal: Functional Expenditure | T17g, L9 | E10.11 | £000 | C | 0 |  | 1899.442 |  | 7884.776 |  | 0 |  | 1385.624 |  | 0 |  | 6830.666 |  | 0 |  | 18000.508
Prepared by: …………………………………………….. |  |  | Date: 16/06/2020
Checked by: …………………………………………….. |  |  | Date: 16/06/2020
Authorised by: