## Pollution Incidents
SEPA Annual Report to the Water Industry Commission for Scotland | [5 empty] | SEPA Annual Report to the Water Industry Commission for Scotland
Table 1a: Pollution Incidents (Calendar year 2008) | [5 empty] | Table 1b: Pollution Incidents (Financial year 2008-09)
|  | Category 1 | Category 2 | Category 3 | Total |  |  | Category 1 | Category 2 | Category 3 | Total
| Sewage Related Premises | Total Number | Total Number | Total Number | Total Number (Cat 1-3 incidents) |  | Sewage Related Premises | Total Number | Total Number | Total Number | Total Number (Cat 1-3 incidents)
1 | Sewage Treatment Works |  |  |  | 0 | 1 | Sewage Treatment Works |  |  |  | 0
2 | Storm Tank |  |  |  | 0 | 2 | Storm Tank |  |  |  | 0
3 | Combined Sewer Overflow |  |  |  | 0 | 3 | Combined Sewer Overflow |  |  |  | 0
4 | Foul Sewer |  |  |  | 0 | 4 | Foul Sewer |  |  |  | 0
5 | Pumping Station |  |  |  | 0 | 5 | Pumping Station |  |  |  | 0
6 | Rising Mains |  |  |  | 0 | 6 | Rising Mains |  |  |  | 0
7 | Other |  |  |  | 0 | 7 | Other |  |  |  | 0
8 | Number of incidents where site compliant with discharge consent |  |  |  | 0 | 8 | Number of incidents where site compliant with discharge consent |  |  |  | 0
|  | Category 1 | Category 2 | Category 3 | Total |  |  | Category 1 | Category 2 | Category 3 | Total
| Water and Surface Water Related Premises | Total Number | Total Number | Total Number | Total Number (Cat 1-3 incidents) |  | Water and Surface Water Related Premises | Total Number | Total Number | Total Number | Total Number (Cat 1-3 incidents)
9 | Water Treatment Works |  |  |  | 0 | 9 | Water Treatment Works |  |  |  | 0
10 | Water Distribution System |  |  |  | 0 | 10 | Water Distribution System |  |  |  | 0
11 | Surface Water Outfall |  |  |  | 0 | 11 | Surface Water Outfall |  |  |  | 0
12 | Number of incidents where site compliant with discharge consent |  |  |  | 0 | 12 | Number of incidents where site compliant with discharge consent |  |  |  | 0
13 | Total (Sewage and Water and Surface Water) related Premises (Automatically Calculated) | 0 | 0 | 0 |  | 13 | Total (Sewage and Water and Surface Water) related Premises (Automatically Calculated) | 0 | 0 | 0
14 | Total (Sewage and Water and Surface Water) number of Incidents where site compliant with Discharge Consent (Automatically Calculated) | 0 | 0 | 0 |  | 14 | Total (Sewage and Water and Surface Water) number of Incidents where site compliant with Discharge Consent (Automatically Calculated) | 0 | 0 | 0
15 | Total Number of all Category 1-3 incidents (Automatically Calculated) | 0 |  |  |  | 15 | Total Number of all Category 1-3 incidents (Automatically Calculated) | 0
16 | Total Number where site compliant with Consent (Automatically Calculated) | 0 |  |  |  | 16 | Total Number where site compliant with Consent (Automatically Calculated) | 0
17 | Total Number of Water Company self reported incidents |  |  |  |  | 17 | Total Number of Water Company self reported incidents
Comments | [5 empty] | Comments
Authorised by: ……………………………………………...….. |  |  | Date: ………………………… |  |  | Authorised by: ……………………………………………...….. |  |  | Date: …………………………

## Compliance
SEPA Annual Report to the Water Industry Commission for Scotland
Table 2: Compliance
NUMERIC CONSENTS |  |  | Calendar Year 2008 | Financial year 2008-09
Water Environment (Controlled Activities) Regulations 2005 (CAR)
A) Sewage treatment works: Total number
1 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
2 | No. of discharges assessed for compliance | nr | 620 | 618
3 | No. of discharges confirmed failing in calendar year. | nr | 56 | 47
4 | %. of discharges compliant with consent in the year | % | 97.14% | 97.6%
B) Look-up Table Lower Tier Consents
5 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
6 | No. of discharges assessed for compliance | nr | 601 | 599
7 | No. of discharges confirmed failing in calendar year. | nr | 27 | 24
8 | %. of discharges compliant with consent in the year | % | 98.62% | 98.77%
C) Upper Tier Consents
9 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
10 | No. of discharges assessed for compliance | nr | 601 | 599
11 | No. of discharges confirmed failing in calendar year. | nr | 38 | 31
12 | %. of discharges compliant with consent in the year | % | 98.06% | 98.41%
D) Single Tier Consents
13 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
14 | No. of discharges assessed for compliance | nr | 19 | 19
15 | No. of discharges confirmed failing in calendar year. | nr | 0 | 0
16 | %. of discharges compliant with consent in the year | % | 100% | 100%
E) Absolute non-Sanitary Consents
17 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
18 | No. of discharges assessed for compliance | nr | 0 | 0
19 | No. of discharges confirmed failing in calendar year. | nr | 0 | 0
20 | %. of discharges compliant with consent in the year | % | 100% | 100%
F) Discharges confirmed as failing (CAR)
21 | Number of discharges confirmed as failing (CAR) | nr
22 | Total population equivalent confirmed as failing | nr
23 | Total population equivalent served by STWs (resident) (numeric consents) | nr
24 | Percentage population equivalent confirmed as failing | % | #DIV/0! | #DIV/0!
Urban Wastewater Treatment Directive (UWWTD)
G) UWWTD
25 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
26 | No. of discharges assessed for compliance | nr | 205 | 205
27 | No. of discharges confirmed failing in calendar year. | nr | 22 | 19
28 | %. of discharges compliant with consent in the year | % | 98.87% | 99.03%
Overall Performance Assessment (OPA) consent measure
H) Discharges confirmed as failing (OPA criteria only)
29 | Number of discharges confirmed as failing (OPA) | nr | 37 | 32
30 | Total population equivalent confirmed as failing | nr | 732053 | 683075
31 | Total population equivalent served by STWs (resident) (numeric consents) | nr | 7037002 | 7037002
32 | Percentage population equivalent confirmed as failing | % | 10.4% | 9.707%
NON-NUMERIC CONSENTS |  |  | Calendar Year 2008 | Financial year 2008-09
I) Non-numeric Consent
33 | No. of discharges on register during calendar year (in force). | nr | 1955 | 1955
34 | No. of discharges assessed for compliance | nr
35 | No. of discharges confirmed failing in calendar year. | nr
36 | %. of discharges compliant with consent in the year | % | 100% | 100%
Comments
Authorised by: ……………………………………………...….. |  |  | Date: …………………………

## Consent failures
SEPA Annual Report to the Water Industry Commission for Scotland | [10 empty] | SEPA Annual Report to the Water Industry Commission for Scotland
Table 3a: Discharges Confirmed as Failing (Calendar year 2008) | [10 empty] | Table 3b: Discharges Confirmed as Failing (Financial year 2008-09)
SEWAGE TREATMENT WORKS (including septic tanks and crude outfalls) | [10 empty] | SEWAGE TREATMENT WORKS (including septic tanks and crude outfalls)
DECEMBER 2008 | [10 empty] | MARCH 2009
|  |  |  | CAR |  | UWWTD |  | OPA** | [6 empty] | CAR |  | UWWT |  | OPA**
ASSET No. | CAR CONSENT NUMBER | ASSET NAME | CONSENT TYPE | Compliant / Failed (C or F) |  | Compliant / Failed (C or F) | Parameter(s) failed* | Compliant / Failed (C or F) | PE | Comments | ASSET No. | CAR CONSENT NUMBER | ASSET NAME | CONSENT TYPE | Compliant / Failed (C or F) |  | Compliant / Failed (C or F) | Parameter(s) failed* | Compliant / Failed (C or F) | PE | Comments
|  |  | ("2 Tier", "1 Tier", "Other") | LT | UT | ALL | [7 empty] | (2 Tier, 1 Tier, Other) | LT | UT | ALL
| CAR/L/1001717 | Clinterty | 2 Tier | C | F |  | Ph(UT) | C | 260 |  |  | CAR/L/1001717 | Clinterty | 2 Tier | C | F | C | Ph(UT) | C | 260
| CAR/L/1001718 | Inverurie (New) | 2 Tier | C | F |  | SS(UT) | C | 10753 |  |  | CAR/L/1001718 | Inverurie (New) | 2 Tier | C | F | C | SS(UT) | C | 10753
| CAR/L/1001727 | Persley | 2 Tier | C | F |  | SS(UT) | C | 31147 |  |  | CAR/L/1001727 | Persley | 2 Tier | C | F | C | SS(UT) | C | 31147
| CAR/L/1003861 | Ellon | 2 Tier | C | C | F | N & P(AA) | F | 11236 |  |  | CAR/L/1004118 | Fraserburgh | 2 Tier | F | F | C | FC(UT) | F | 43577 | Faecal Coliform failures
| CAR/L/1004118 | Fraserburgh | 2 Tier | F | F |  | FC(UT) | F | 43577 | Faecal Coliform failures |  | CAR/L/1008828 | Hatton Of Cruden | 2 Tier | F | C | C | FC(LT) | F | 700 | Faecal Coliform failures
| CAR/L/1008828 | Hatton Of Cruden | 2 Tier | F | C |  | FC(LT) | F | 700 | Faecal Coliform failures |  | CAR/L/1001641 | Woodlands of Durris | 2 Tier | F | F | C | BOD(LT/UT) | F | 34
| CAR/L/1001641 | Woodlands of Durris | 2 Tier | F | F |  | BOD(LT/UT) | F | 34 |  |  | CAR/L/1001649 | Echt | 2 Tier | F | C | C | BOD(LT) | F | 158
| CAR/L/1001649 | Echt | 2 Tier | F | C |  | BOD(LT) | F | 158 |  |  | CAR/L/1001201 | Inverkeilor | 2 Tier | F | C | C | BOD(LT) | F | 237
| CAR/L/1008924 | Ballater | 2 Tier | C | C | F | COD(LT) | C | 3474 |  |  | CAR/L/1000567 | Dunlop | 2 Tier | C | F | C | P(UT) | C | 813
| CAR/L/1001207 | Brechin | 2 Tier | F | C |  | NH3(LT) | F | 9943 |  |  | CAR/L/1000847 | Moscow | 2 Tier | C | F | C | BOD(UT), SS(UT) | C | 73
| CAR/L/1000567 | Dunlop | 2 Tier | C | F |  | P(UT) | C | 813 |  |  | CAR/L/1003410 | Drongan | 2 Tier | F | F | F | BOD(LT/UT), COD(LT) | F | 3921
| CAR/L/1000847 | Moscow | 2 Tier | C | F |  | BOD(UT) SS(UT) | C | 73 |  |  | CAR/L/1008924 | Ballater | 2 Tier | C | C | F | COD(LT) | C | 3474
| CAR/L/1003410 | Drongan | 2 Tier | F | F | F | BOD(LT/UT) COD(LT) | F | 3921 |  |  | CAR/L/1011780 | Lamlash | 2 Tier | F | C | C | SS(LT) | F | 1348
| CAR/L/1003411 | Catrine | 2 Tier | F | C | F | BOD(LT) | F | 2487 |  |  | CAR/L/1001342 | Kelso | 2 Tier | C | F | F | BOD(LT/UT), SS(UT) | F | 7748
| CAR/L/1008840 | Cumnock | 2 Tier | F | C |  | NH3(LT) | F | 15695 |  |  | CAR/L/1001521 | Eyemouth | 2 Tier | C | C | F | COD(UT) | C | 12849
| CAR/L/1011780 | Lamlash | 2 Tier | F | C |  | SS(LT) | F | 1348 |  |  | CAR/L/1001663 | Culloden (Sunnyside) | 2 Tier | C | F | C | Ph(UT) | C | 337
| CAR/L/1001342 | Kelso | 2 Tier | C | F | F | BOD(UT) | F | 7748 |  |  | CAR/L/1001670 | Cawdor | 2 Tier | C | F | C | FC(UT) | F | 116 | Faecal Coliform failures
| CAR/L/1003732 | Reston | 2 Tier | C | F |  | BOD(UT) | C | 512 |  |  | CAR/L/1001672 | Tain | 2 Tier | C | F | F | BOD(UT),FC(UT) | F | 4118 | Faecal Coliform failures
| CAR/L/1001521 | Eyemouth | 2 Tier | C |  | F | COD(UT) | C | 12849 |  |  | CAR/L/1001952 | Drumnadrochit | 2 Tier | C | F | F | SS(UT), COD(UT) | C | 1312
| CAR/L/1001588 | Alness | 2 Tier | C | F |  | BOD(UT) SS(UT) | C | 5252 |  |  | CAR/L/1003853 | Invergordon | 2 Tier | C | F | C | BOD(LT/UT), SS(UT) | C | 6772
[12 empty] | CAR/L/1001617 | Conon Bridge | 2 Tier | C | C | F | BOD(UT) | C | 2437
| CAR/L/1001663 | Culloden (Sunnyside) | 2 Tier | C | F |  | Ph(UT) | C | 337 |  |  | CAR/L/1003130 | Stoneykirk | 2 Tier | F | C | C | BOD(LT) | F | 30
| CAR/L/1001670 | Cawdor | 2 Tier | C | F |  | FC(UT) | F | 116 | Faecal Coliform failures |  | CAR/L/1003518 | Kirkconnel | 2 Tier | F | C | F | BOD(LT), COD(LT) | F | 5878
| CAR/L/1001672 | Tain | 2 Tier | C | F | F | FC(UT)BOD, COD (UT) | F | 4118 | Faecal Coliform failures |  | CAR/L/1003619 | Stranraer | 2 Tier | C | C | F | BOD(LT/UT), COD(LT/UT) | F | 15361
| CAR/L/1001952 | Drumnadrochit | 2 Tier | C | F | F | SS(UT) | C | 1312 |  |  | CAR/L/1000412 | Inversnaid | 2 Tier | F | F | C | BOD(LT),SS(UT), P(UT),Ph(UT) | F | 55
| CAR/L/1003853 | Invergordon | 2 Tier | C | F |  | BOD(UT) SS(UT) | C | 6772 |  |  | CAR/L/1003354 | Dalmuir | 2 Tier | C | C | F | BOD(LT/UT) | F | 541499
| CAR/L/1001617 | Conon Bridge | 2 Tier | C | F | F | BOD, COD(UT) | F | 2437 |  |  | CAR/L/1003386 | Balmaha | 2 Tier | C | F | C | SS(UT) | C | 133
| CAR/L/1003130 | Stoneykirk | 2 Tier | F | C |  | BOD(LT) | F | 30 |  |  | CAR/L/1003797 | Pencaitland | 2 Tier | F | C | C | BOD(LT) | F | 1291
| CAR/L/1003518 | Kirkconnel | 2 Tier | F | C | F | COD(LT) | F | 5878 |  |  | CAR/L/1001685 | Kinloss | 2 Tier | C | F | F | SS(UT) | C | 4935
| CAR/L/1003619 | Stranraer | 2 Tier | C | C | F | BOD(UT) COD(UT) | F | 15361 |  |  | CAR/L/1001740 | Grantown on Spey | 2 Tier | C | F | F | SS(UT) | C | 5629
| CAR/L/1003537 | Canonbie | 2 Tier | F | F |  |  | F | 445 |  |  | CAR/L/1001752 | Newtonmore | 2 Tier | C | F | F | BOD(LT/UT), NH3(UT) | F | 1419
| CAR/L/1000412 | Inversnaid | 2 Tier | F | F |  | BOD(LT) P(UT) SS(UT) Ph(UT) | F | 55 |  |  | CAR/L/1001762 | Kingussie | 2 Tier | C | C | F | BOD(LT) | F | 1823
| CAR/L/1003354 | Dalmuir | 2 Tier | C | C | F | BOD(UT) COD(LT) | F | 541499 |  |  | CAR/L/1003862 | Kincraig | 2 Tier | C | F | C | Ph(UT) | C | 157
| CAR/L/1010460 | Balfron | 2 Tier | F | C |  | P(LT) | F | 2093 |  |  | CAR/L/1001162 | Airth | 2 Tier | C | F | C | SS(UT) | C | 1828
| CAR/L/1001685 | Kinloss | 2 Tier | C | F | F | SS(UT) | C | 4935 |  |  | CAR/L/1001579 | Armadale | 2 Tier | F | C | C | BOD(LT) | F | 11601
| CAR/L/1001752 | Newtonmore | 2 Tier | C | F | F | NH3(UT) | F | 1419 |  |  | CAR/L/1003729 | Dunnswood | 2 Tier | F | C | C | NH3(LT) | F | 34213
| CAR/L/1001762 | Kingussie | 2 Tier | C | C | F | BOD(LT) | F | 1823 |  |  | CAR/L/1003416 | Plains | 2 Tier | F | C | C | BOD(LT) | F | 2345
| CAR/L/1003862 | Kincraig | 2 Tier | C | F |  | Ph(UT) | C | 157 |  |  | CAR/L/1000751 | Netherburn | 2 Tier | F | C | C | BOD(LT) | F | 602
| CAR/L/1008721 | Aviemore | 2 Tier | F | C |  | NH3(LT) | F | 5274 |  |  | CAR/L/1001657 | Halkirk | 2 Tier | F | C | C | BOD(LT) | F | 1210
| CAR/L/1001090 | Plean | 2 Tier | C | F | F | BOD(UT) SS(UT) COD(UT) | C | 1873 |  |  | CAR/L/1002984 | St. Margarte's Hope | 2 Tier | C | F | C | BOD(UT) | C | 355
| CAR/L/1001579 | Armadale | 2 Tier | F | C |  | BOD(LT) | F | 11601 |  |  | CAR/L/1003852 | Thrumster | 2 Tier | F | F | C | BOD(LT/UT), NH3(LT) | F | 193
| CAR/L/1003729 | Dunnswood | 2 Tier | F | C |  | NHS(LT) | F | 34213 |  |  | CAR/L/1001001 | Comrie | 2 Tier | C | F | F | BOD(UT), SS(UT), COD(UT) | C | 2132
| CAR/L/1003829 | Livingston | 2 Tier | C | C | F | BOD(UT) | C | 4066 |  |  | CAR/L/1001132 | Blairgowrie | 2 Tier | C | F | F | BOD(UT) | C | 9092
| CAR/L/1003416 | Plains | 2 Tier | F | C |  | BOD(LT) | F | 2345 |  |  | CAR/L/1001353 | Wolfhill | 2 Tier | F | C | C | BOD(LT), NH3(LT) | F | 164
| CAR/L/1003441 | Dullatur | 2 Tier | C | F |  | BOD(UT) | C | 174 |  |  | CAR/L/1000666 | Lochwinnoch | 2 Tier | C | F | F | SS(UT), COD(UT) | C | 2453
| CAR/L/1000756 | Forth | 2 Tier | C | F |  | SS(UT) | C | 2564 |  |  | CAR/L/1003436 | Neilston | 2 Tier | C | F | C | CN(UT) | C | 5532 | Cyanide Failures
| CAR/L/1003429 | Blackwood | 2 Tier | C | F | F | BOD(UT) | C | 3691 |  |  | CAR/L/1000921 | Fallin | 2 Tier | C | C | F | BOD(LT) | F | 2611
| CAR/L/1003446 | Carstairs Village | 2 Tier | C | F |  | SS(UT) | C | 832 |  |  | CAR/L/1001143 | Strathyre | 2 Tier | F | F | C | BOD(LT/UT) | F | 243
| CAR/L/1001657 | Halkirk | 2 Tier | F | C |  | BOD(LT) | F | 1210 |  |  | CAR/L/1001157 | Blairingone | 2 Tier | F | F | C | BOD(LT/UT) | F | 49
| CAR/L/1002984 | St. Margarte's Hope | 2 Tier | C | F |  | BOD(UT) | C | 355 |  |  | CAR/L/1001277 | Kinlochard | 2 Tier | F | C | C | P(LT) | F | 198
| CAR/L/1003852 | Thrumster | 2 Tier | F | F |  | BOD(UT) NH3(LT) | F | 193 |  |  | CAR/L/1001378 | Forestmill | 2 Tier | F | C | C | SS(LT) | F | 61
| CAR/L/1016489 | Stromness | 2 Tier | F | F |  | BOD(UT) SS(UT) | F | 1741 |  |  | CAR/L/1001619 | Mid Tolsta | 2 Tier | F | F | C | BOD(LT/UT) | F | 127
| CAR/L/1001001 | Comrie | 2 Tier | C | F | F | BOD(UT) COD(UT) | C | 2132 |  |  | CAR/L/1000372 | Dalmally | 2 Tier | F | C | C | SS(LT) | F | 145
| CAR/L/1001353 | Wolfhill | 2 Tier | F | C |  | BOD(LT) NH3(LT) | F | 164 |  |  | CAR/L/1003457 | Oban | 2 Tier | C | C | F | BOD(UT), COD(UT) | C | 12146
| CAR/L/1000666 | Lochwinnoch | 2 Tier | C | F | F | SS(UT) | C | 2453 |  |  | CAR/L/1010651 | Tobermoray | 2 Tier | C | F | C | SS(UT) | C | 9091
| CAR/L/1003436 | Neilston | 2 Tier | C | F |  | CN(UT) | C | 5532 | Cyanide failures
| CAR/L/1000921 | Fallin | 2 Tier | C | C | F | BOD(LT) | F | 2611
| CAR/L/1001143 | Strathyre | 2 Tier | C | F |  | BOD(UT) | C | 243
| CAR/L/1001157 | Blairingone | 2Tier | F | F |  | BOD(UT) | F | 49
| CAR/L/1001277 | Kinlochard | 2 Tier | F | C |  | P(LT) | F | 198
| CAR/L/1001378 | Forestmill | 2 Tier | F | C |  | SS(LT) | F | 61
| CAR/L/1001619 | Mid Tolsta | 2 Tier | F | F |  | BOD(UT) | F | 127
| CAR/L/1000372 | Dalmally | 2Tier | F | C |  | SS(LT) | F | 145
| CAR/L/1000373 | Clachan | 2 Tier | C | F |  | SS(UT) | C | 89
| CAR/L/1003457 | Oban | 2 Tier | C | C | F | BOD(UT) COD(UT) SS(UT) | C | 12146
| CAR/L/1010651 | Tobermoray | 2 Tier | C | F |  | SS(UT) | C | 9091
* BOD, COD, SS, NH3, pH, Scheme in breach of statutory deadlines, etc. For UWWTD failures specify: Reporting, Audit, Insufficient samples, BOD UT, BOD LUT, COD UT, COD LUT or Annual average (or a combination of these).
** Please follow OPA criteria as described in the "Ofwat OPA guidance" worksheet
Levels of Service analysis
1) The Levels of Service analysis only includes BOD LUT and P failures for UWWT reporting
2) In the Levels of Service analysis, where a STW failures both the LUT part of its CAR consent and the BOD LUT or P UWWT consent condition, the failure is reported against the CAR consent only
[8 empty] | FAILING PE (OPA) | 732053 | [9 empty] | FAILING PE (OPA) | 683075
[8 empty] | TOTAL NUMERICALLY CONSENTED PE (OPA) | 7037002 | [9 empty] | TOTAL NUMERICALLY CONSENTED PE (OPA) | 7037002
|  |  |  | %PE FAILING (OPA) |  |  |  |  | 10.4% | [5 empty] | %PE FAILING (OPA) |  |  |  |  | 9.707%
|  |  |  | LOWER TIER FAILING |  |  |  |  | 27 | [5 empty] | LOWER TIER FAILING |  |  |  |  | 24
|  |  |  | UPPER TIER FAILING |  |  |  |  | 38 | [5 empty] | UPPER TIER FAILING |  |  |  |  | 31
|  |  |  | SINGLE TIER FAILING |  |  |  |  | 0 | [5 empty] | SINGLE TIER FAILING |  |  |  |  | 0
|  |  |  | TOTAL FAILING |  |  |  |  | 56 | [5 empty] | TOTAL FAILING |  |  |  |  | 47
Comments | [10 empty] | Comments
Authorised by: ……………………………………………...….. |  |  | Date: ………………………… | [7 empty] | Authorised by: ……………………………………………...….. |  |  | Date: …………………………
Note on B12: ASSET NO. ENTER THE ASSET NUMBER HERE
Note on D12: ASSET NAME ENTER THE ASSET NAME HERE. THIS SHOULD BE THE SAME AS THE CONSENT.
Note on N12: ASSET NO. ENTER THE ASSET NUMBER HERE
Note on P12: ASSET NAME ENTER THE ASSET NAME HERE. THIS SHOULD BE THE SAME AS THE CONSENT.

## Ofwat OPA guidance
Overall Performance Assessment (OFWAT environmental measures)
1) | Sewage treatment works consent compliance
An assessment of sewage treatment works (STWs) with the conditions of their discharge consents.
Unit of assessment
An assessment of the percentage population equivalent (pe) served by STWs that do not comply with the conditions of their discharge consents. The
measure addresses compliance with conditions covering the following.
- Sanitary determinands of 1991 Water Resources Act numeric consents.
- Bio-chemical oxygen demand and phosphorus determinands of Urban
- Waste Water Treatment Directive (UWWTD) consents.
- Phosphorus determinands of 1991 Water Resource Act numeric consents.
- Disinfection conditions of 1991 Water Resource Act consents.
Sewage treatment works compliance conditions included in the OPA
| Parameter | Legislation | Compliance condition
| Biochemical oxygen demand (BOD) | WRA1 | Compliance with the look up table (LUT) effluent consent condition limits
UWWT2
|  | UWWT2 | Compliance with LUT consent condition limit requiring percentage removal of BOD across the works, as assessed by influent and effluent BOD concentrations.
| Suspended solids (SS) | WRA | Compliance with the LUT effluent consent condition limit
| Ammonia (NH4) | WRA | Compliance with the LUT effluent consent condition limit
| Phosphorus (P) | WRA | Compliance with the effluent consent condition limit
UWWT2
|  | UWWT2 | Compliance with the consent condition limit requiring percentage removal of P across the works, as assessed by influent and effluent P concentrations.
| UV Disinfection | WRA | Compliance with the required UV dose for 99% of the time (where the period of time is annual or seasonal as specified in the consent conditions3).
1 WRA – Water Resources Act
2 UWWT – Urban Waste Water Treatment Regulations
The UWWT regulations provide two approaches for BOD and P: A works is considered to have met compliance conditions if it passes either of these conditions.
3 Some works are required to apply UV disinfection year round, others during the bathing
Calculation
pe of STWs failing their consent conditions for sanitary determinands, phosphorus determinands and disinfection conditions x100
Relevant pe served (resident) (numeric consents)
Performance range
The performance range against which individual company OPA scores are calculated will be:
Max 4.93
Min 0
2) | Category 1 and 2 pollution incidents (sewage)
Description
An assessment of the number of category 1 and 2 pollution incidents resulting from sewage collection and treatment activities.
Unit of assessment
The number of category 1 and 2 pollution incidents resulting from sewage collection and treatment activities per million population equivalent (pe)
served. See table for details of which pollution incidents are included.
Classification of pollution incidents according to each OPA measure
| Source/premises | Category 1& 2 | Category 3
| Sewage treatment works | Included in OPA. Category 1 & 2 pollution incidents (sewage). | Included in OPA. Category 3 pollution incidents (sewage).
Combined sewer overflow
Storm tank
Rising main
| Water treatment works | Included in OPA. Category 1 & 2 pollution incidents (water). | Not included in the OPA.
Water distribution system
| Surface water outfall | Not included in OPA.
| Pumping station | Included in OPA. Category 1 & 2 pollution incidents (sewage). | Included in OPA. Category 3 pollution incidents (sewage).
Foul sewers
Other
Calculation
Category 1 and 2 pollution incidents
Population equivalent served resident / 1,000,000
Performance range
The performance range against which individual company OPA scores are calculated will be:
Max 6.17
Min 1.06
3) | Category 3 pollution incidents (sewage)
Description
An assessment of the number of category 3 pollution incidents resulting from sewage collection and treatment activities.
Unit of assessment
The number of category 3 pollution incidents resulting from sewage collection and treatment activities per million population equivalent (pe) served. See
table in (2) for details of which pollution incidents are included.
Calculation
Category 3 pollution incidents
Population equivalent served resident / 1,000,000
Performance range
The performance range against which individual company OPA scores are calculated will be:
Max 145.07
Min 9.44
4) | Category 1 and 2 pollution incidents (water)
Description
An assessment of the number of sategory 1 and 2 pollution incidents resulting from water treatment and distribution activities.
Unit of assessment
The number of category 1 and 2 pollution incidents resulting from water treatment and distribution activities per million winter population served. See
table in (2) for details of which pollution incidents are included.
Calculation
Category 1 and 2 pollution incidents
Winter population / 1,000,000
Performance range
The performance range against which individual company OPA scores are calculated will be:
Max 1.7
Min 0